## PR (hidden)
Pressure Reducing
Balanced, Direct Acting PRV | DRV | DRV | DPR | DPR
Combination Pressure Reducing and Pressure Sustaining | 115-2 | 6115-2 | ACV-HF-PR\PS | ACV-PR\PS
Pressure Reducing - UL Listed | 115F | 6115F | ACV-HF-PR\UL | ACV-PR\UL
Pressure Reducing & Solenoid Shutoff | 115-4 | 6115-4 | ACV-HF-PR\EL | ACV-PR\EL
Pressure Reducing / Check | 115-3 | 6115-3 | ACV-HF-PR\CV | ACV-PR\CV
Pressure Reducing / Surge | 115-7 | 6115-7 | ACV-HF-PRQ | ACV-PRQ
Pressure Reducing valve | 115 | 6115 | ACV-HF-PR | ACV-PR
Pressure Reducing with Low-Flow Bypass | 115-74 | 6115-74 | ACV-HF-PR | ACV-PR

## PS (hidden)
Pressure Sustaining
Combination Pressure Reducing and Pressure Sustaining | 115-2 | 6115-2 | ACV-HF-PR\PS | ACV-PR\PS
Fire Pump Relief Valve | 116FM | 116FM | ACV-HF-PS\UL | ACV-HF-PS\UL
Fire Pump Suction Control | 116-1FM | 116-1FM | Consult Dorot | Consult Dorot
Pressure relief & Surge Anticipator valve | 116-52 | 6116-52 | ACV-HF-RE | ACV-RE
Pressure Relief valve | 116 | 6116 | ACV-HF-PS | ACV-PS
Pressure Sustaining & Solenoid Shuttoff | 116-31 | 6116-31 | ACV-HF-PS\EL | ACV-PS\EL
Pressure Sustaining valve | 116 | 6116 | ACV-HF-PS | ACV-PS

## FR (hidden)
Flow Control
Rate of Flow Control valve | 114-R | 6114-R | ACV-HF-FR | ACV-FR

## FL (hidden)
Water Level Control
Altitude, One Way Flow | 127-1 | 6127-1 | ACV-HF-AL\CV | ACV-AL\CV
Altitude, One Way Flow w. delayed opening | 127-11 | 6127-11 | ACV-HF-AL\CV | ACV-AL\CV
Altitude, Two-Way Flow | 127-2 | 6127-2 | ACV-HF-AL(BD) | ACV-AL(BD)
Electric Float Actuated (1) | 113-12 | 6113-12 | ACV-HF-FLEL | ACV-FLEL
Electric Float Actuated (2) | 113-6 | 6113-6 | ACV-HF-FLEL | ACV-FLEL
Float Valve (modulating) | 110-10 | 6110-10 | ACV-HF-FLDI1 | ACV-FLDI1
Float Valve (on-off) | 110-14 | 6110-14 | ACV-HF-FLDI1 | ACV-FLDI1

## BCnRE (hidden)
Pump & Surge Control
Booster Pump Control Valve (1) | 113-46 | 6113-46 | ACV-HF-BC | ACV-BC
Booster Pump Control Valve (2) | 113-21 | 6113-21 | ACV-HF-BC | ACV-BC
Booster Pump Control Valve (3) | 413-21 | 6413-21 | Consult Dorot | Consult Dorot
Booster Pump Control Valve (4) | 513-5 | 6513-5 | Consult Dorot | Consult Dorot
Booster Pump Control Valve- Dual Chamber | 513-12 | 6513-12 | 30[D]-BC | 32[D]-BC
Deep Well Pump Control Valve | 513-6 | 6513-6 | ACV-HF-DW | ACV-DW
Fire Pump Relief Valve | 116FM | 116FM | ACV-HF-PS\UL | ACV-HF-PS\UL
Fire Pump Suction Control | 116-1FM | 116-1FM | Consult Dorot | Consult Dorot
Pressure relief & Surge Anticipator valve | 116-52 | 6116-52 | ACV-HF-RE | ACV-RE

## EL (hidden)
Solenoid Valves
Booster Pump Control Valve (1) | 113-46 | 6113-46 | ACV-HF-BC | ACV-BC
Booster Pump Control Valve (2) | 113-21 | 6113-21 | Consult Dorot | Consult Dorot
Booster Pump Control Valve (3) | 413-21 | 6413-21 | ACV-HF-BC | ACV-BC
Booster Pump Control Valve (4) | 513-5 | 6513-5 | ACV-HF-BC | ACV-BC
Booster Pump Control Valve- Dual Chamber | 513-12 | 6513-12 | ACV-HF-BC | ACV-BC
Deep Well Pump Control Valve | 513-6 | 6513-6 | ACV-HF-DW | ACV-DW
Pressure Reducing & Solenoid Shutoff | 115-4 | 6115-4 | ACV-HF-PR\EL | ACV-PR\EL
Pressure Sustaining & Solenoid Shuttoff | 116-31 | 6116-31 | ACV-HF-PS\EL | ACV-PS\EL
Solenoid Control Valve (1) | 113-12 | 6113-12 | ACV-HF-EL | ACV-EL
Solenoid Control Valve (2) | 113-6 | 6113-6 | ACV-HF-EL | ACV-EL

## comb (hidden)
Combination Valves
Combination Pressure Reducing and Pressure Sustaining | 115-2 | 6115-2 | ACV-HF-PR\PS | ACV-PR\PS
Pressure Reducing & Solenoid Shutoff | 115-4 | 6115-4 | ACV-HF-PR\EL | ACV-PR\EL
Pressure relief & Surge Anticipator valve | 116-52 | 6116-52 | ACV-HF-RE | ACV-RE
Pressure Sustaining & Solenoid Shuttoff | 116-31 | 6116-31 | ACV-HF-PS\EL | ACV-PS\EL

## Fire (hidden)
Fire Valves
Fire Pump Relief Valve - UL Listed | 116FM | 116FM | ACV-HF-PS\UL | ACV-HF-PS\UL
Deluge Valve - Electrically Actuated - UL Listed | 100D-B | 100D-B | 68-DE\RC | 68-DE\RC
Deluge Valve - Pneumatic\Hydraulic - UL Listed | 110D-A | 100D-A | 68-DE\PORV | 68-DE\PORV
Fire Pump Suction Control | 116-1FM | 116-1FM | Consult Dorot | Consult Dorot
Pressure Reducing - UL Listed | 115F | 6115F | ACV-HF-PR\UL | ACV-PR\UL

## CV (hidden)
Non-Return Valves
No-Slam Check valve w. Dual Speed Control | 118-3R | 6118-3R | ACV-HF-CV | ACV-CV

## Watts - Beeco ACV Cross Ref.
Watts - BEECO: ACV Cross Reference
1- | Select Function Type: | Pressure Reducing | [5 empty] | FPR | PRP
2- | Select Function: | Combination Pressure Reducing and Rate of Flow
Beeco Code
|  |  | Watts ref. code: | 115-2 | = |  | ACV-HF-PR\PS
|  |  | Watts ref. code: | 6115-2 | = |  | ACV-PR\PS
Note on D4: Select Function Group: Pick function group from the drop-down list, by clicking the righthand arrow
Note on D6: Select Function: Select from from the dropdown box by clicking the right hand errow.

## Index (hidden)
Pressure Reducing | Pressure Sustaining | Flow Control | Water Level Control | Pump & Surge Control | Solenoid Valves | Combination Valves | Fire Valves | Non-Return Valves | 1 | Combination Valves | FCO | COP
Balanced, Direct Acting PRV | Pressure Sustaining valve | Rate of Flow Control valve | Altitude, One Way Flow | Booster Pump Control Valve (1) | Solenoid Control Valve (1) | Combination Pressure Reducing and Pressure Sustaining | Fire Pump Relief Valve - UL Listed | No Slam Check Valve | 2 | Fire Valves | FFV | FVP
Pressure Reducing valve | Pressure Relief valve | Rate of Flow & Solenoid Shutoff | Altitude, One Way Flow w. delayed opening | Booster Pump Control Valve (2) | Solenoid Control Valve (2) | Pressure Reducing & Solenoid Shutoff | Deluge Valve - Electrically Actuated - UL Listed | No-Slam Check valve w. Dual Speed Control | 3 | Flow Control | FFR | FRP
Pressure Reducing & Solenoid Shutoff | Pressure Sustaining & Solenoid Shuttoff | Combination Pressure Reducing and Rate of Flow | Altitude, Two-Way Flow | Booster Pump Control Valve (3) | Booster Pump Control Valve (1) | Combination Pressure Reducing and Rate of Flow | Deluge Valve - Pneumatic\Hydraulic - UL Listed | Wafer Swing Check | 4 | Non-Return Valves | FCV | CVP
Pressure Reducing with Low-Flow Bypass | Combination Pressure Reducing and Pressure Sustaining |  | Altitude, Two-Way Flow w. delayed opening | Booster Pump Control Valve (4) | Booster Pump Control Valve (2) | Pressure Sustaining & Solenoid Shuttoff | Fire Pump Suction Control |  | 5 | Pressure Reducing | FPR | PRP
Combination Pressure Reducing and Pressure Sustaining | Pressure relief & Surge Anticipator valve |  | Float Valve (on-off) (1) | Booster Pump Control Valve with high-capacity control system | Booster Pump Control Valve (3) | Pressure relief & Surge Anticipator valve | Pressure Reducing - UL Listed |  | 6 | Pressure Sustaining | FPS | PSP
Combination Pressure Reducing and Rate of Flow |  |  | Float Valve (on-off) (2) | Pump control panel | Booster Pump Control Valve (4) | Rate of Flow & Solenoid Shutoff |  |  | 7 | Pump & Surge Control | FBC | BCP
|  |  | Float Valve (modulating) (1) | Deep Well Pump Control Valve | Booster Pump Control Valve with high-capacity control system |  |  |  | 8 | Solenoid Valves | FEL | ELP
|  |  | Float Valve (modulating) (2) | Pressure relief & Surge Anticipator valve | Deep Well Pump Control Valve |  |  |  | 9 | Water Level Control | FFL | FLP
|  |  | Float Valve (modulating) (3) |  | Rate of Flow & Solenoid Shutoff |  |  |  | 10
|  |  | Float Control for open tanks |  | Pressure Reducing & Solenoid Shutoff |  |  |  | 11
|  |  | Electric Float Actuated (1) |  | Pressure Sustaining & Solenoid Shuttoff |  |  |  | 12
|  |  | Electric Float Actuated (2) | [5 empty] | 13
14
15
16
17
18
19
20
21
22
23
24
25
26
27