## TSP-2022
TSP-2022-08 |  | Updated: | 2022-07-14
Trap Seal Primers & Water Hammer Arrestors (LIT-062)
Item # | Description | UPC | List Price
CL-1/2PEX | 1/2" PEX | 779897996894 | 23
CL-1/2PEX-VERT | CL 1/2" PEX VERTICAL | 779897088698 | 17
CL-1/4 COMP | 1/4"ODX3/8"OD COMP | 779897996962 | 23
CL-2XSTUB | 2-1/2"NOM CLX1/2"F SWEAT | 779897996900 | 26
CL-3/8 COMP | 3/8"ODX3/8"OD COMP | 779897996979 | 23
CL-3/8PEX | 3/8" PEX | 779897996917 | 25
CL-5/8 COMP | 5/8"ODX5/8"OD COMP | 779897996986 | 23
CL-A | 1/2" PISTON 1-11 FIXTURE UNITS | 779897085222 | 27
CL-A-.75-NPB | 3/4" PISTON 1-11 FIXTURE UNITS LOW LEAD |  | 27
CL-A-.75-NPB-ME | 3/4" PISTON 1-11 FIXTURE UNITS LOW LEAD/MIDDLE EAST |  | 27
CL-A-NPB | 1/2" PISTON 1-11 FIXTURE UNITS LOW LEAD | 779897026935 | 27
CL-A-NPB-ME | 1/2" PISTON 1-11 FIXTURE UNITS LOW LEAD/ MIDDLE EAST |  | 27
CL-A-NPB-NP | 1/2" PISTON 1-11 FIXTURE UNITS LOW LEAD NICKEL PLATED |  | 82
CL-A-NPB-SS | 1/2" PISTON 1-11 FIXTURE UNITS LOW LEAD 316 STNL STL |  | 122
CL-AA | 1/2" PISTON 1 FIXTURE UNIT | 779897700064 | 25
CL-AA-1/2 | 1/2" IPS CONNEC SINGL FIX. UNIT | 779897664854 | 25
CL-AA-NPB | 1/2" PISTON 1 FIXTURE UNIT LOW LEAD | 779897026928 | 25
CL-AA-NPB-ME | 1/2" PISTON 1 FIXTURE UNIT LOW LEAD/MIDDLE EAST |  | 25
CL-ADPT-30 | PVC ADAPTOR FR CL-CPVC | 779897033117 | 6
CL-B | THREADED 3/4" PISTON 12-32 FIX. UNITS | 779897664793 | 34.5
CL-B-ME | THREADED 3/4" PISTON 12-32 FIX. UNITS/ME |  | 34.5
CL-B-NPB | THREADED 3/4" PISTON 12-32 FIX. UNITS LOW LEAD | 779897026942 | 34.5
CL-B-NPB-NP | 3/4" PISTON 12-30 FIXTURE UNITS LOW LEAD NICKEL PLATED |  | 89
CL-B-NPB-SS | 3/4" PISTON 12-30 FIXTURE UNITS LOW LEAD 316 STNL STL |  | 138
CL-C | THREADED 1" PISTON 33-60 FIX. UNITS | 779897664809 | 83.5
CL-C-ME | THREADED 1" PISTON 33-60 FIX. UNITS/MIDDLE EAST |  | 83.5
CL-C-NPB | THREADED 1" PISTON 33-60 FIX. UNITS NPB | 779897026959 | 83.5
CL-C-NPB-NP | 1" PISTON 31-60 FIXTURE UNITS LOW LEAD NICKEL PLATED |  | 98
CL-C-NPB-SS | 1" PISTON 31-60 FIXTURE UNITS LOW LEAD 316 STNL STL |  | 162
CL-COMP VERT | 5/8"OD COMP | 779897997006 | 25
CL-COMPXMIP | 1/2"MIPX5/8"OD COMP | 779897996993 | 23
CL-COMPXSWEAT | 1/2" NOM x3/8" O.D CL COMPRESSION CONNECTION | 779897658785 | 23
CL-CPVC | 1/2" CPVC SOL. WELD CONN. SNGL. FIX UNIT | 779897665035 | 23
CL-D | 1-1/4" PISTON 61-113 FIXTURE UNITS | 779897700026 | 112
CL-D-NPB | THREADED 1-1/4" PISTON 61-113 FIX. UNITS NPB | 779897026966 | 112
CL-D-NPB-NP | 1.25" PISTON 61-113 FIXTR UNITS LOW LEAD NICKEL PLATED |  | 203
CL-D-NPB-SS | 1.25" PISTON 61-113 FIXTR UNITS LOW LEAD 316 STNL STL |  | 283
CL-E | 1-1/2" PISTON 114-154 FIXTURE UNITS | 779897700033 | 163
CL-E-NPB | 1-1/2" PISTON 114-154 FIXTURE UNITS LOW LEAD | 779897026973 | 163
CL-E-NPB-NP | 1.50" PISTON 114-154 FIXT UNITS LOW LEAD NICKEL PLATED |  | 242
CL-E-NPB-SS | 1.50" PISTON 114-154 FIXT UNITS LOW LEAD 316 STNL STL |  | 365
CL-F | 2" PISTON 155-330 FIXTURE UNITS | 779897700040 | 241
CL-F-NPB | 2" PISTON 155-330 FIXTURE UNITS (NO LEAD) | 779897034473 | 241
CL-F-NPB-NP | 2" PISTON 155-330 FIXTR UNITS LOW LEAD NICKEL PLATED |  | 565
CL-F-NPB-SS | 2" PISTON 155-330 FIXTR UNITS LOW LEAD 316 STNL STL |  | 647
CL-HC1 | HOSE CONNX FOR CL HYDRANTS |  | 33
CL-K | KEY LOCK FOR CL HYDRANTS |  | 54
CL-LAUNDRY | F SWIVEL HOSE/MALE HOSE | 779897996931 | 25
CL-LAV | COUNTERLINE CL-LAV WHA | 779897033124 | 2
CL-LAV-3/8 | 3/8" O.D REV. COM. CONN.SINGLE FIX. UNIT | 779897664984 | 25
CL-LAV-5/8 | 5/8" O.D REV.COM.CONN. SINGLE FIX. UNIT | 779897664991 | 26
CL-PVC-AA | 1/2"PVC CONN | 779897996924 | 22
CL-RFD-6 | VANDAL PROOF FOR CL-RFD-6 |  | 30
CL-SD7000 | VANDAL PROOF FOR CL-SD7000 |  | 5
CL-STUB | 1/2"NOM CLX1/2"F SWEAT | 779897996887 | 23
CL-SW-6 | VANDAL PROOF FOR CL-SW |  | 21
CL-TEE | 1/2"F SWEATX1/2"F SWEAT | 779897996863 | 20
CL-TUB | 1/2"OPEN MX1/2F SWEAT | 779897996870 | 25
CL-VB | VACUUM BREAKER FOR HY-6800 |  | 22
CL-WC | WALL CLAMP FOR CL HYDRANTS |  | 22
CLS-A | 1/2" PISTON SWEAT 1-11 FIXTURE UNITS | 779897700071 | 27
CLS-A-NPB | 1/2" PISTON SWEAT 1-11 FIXTURE UNITS/ NO LEAD | 779897037917 | 27
CLS-B | SWEAT 3/4" PISTON 12-32 FIX. UNITS | 779897664816 | 34.5
CLS-B-NPB | SWEAT 3/4" PISTON 12-32 FIX. UNITS NPB | 779897039126 | 34.5
CLS-C | SWEAT 1" PISTON 33-60 FIX. UNITS | 779897664823 | 83.5
CLS-C-NPB | SWEAT 1" PISTON 33-60 FIX. UNITS NPB | 779897044793 | 83.5
CLS-D | 11/4" PISTON SWEAT 61-113 FIXTURE UNITS | 779897700088 | 112
CLS-D-NPB | 1" PISTON SWEAT 61-113 FIXTURE UNITS/ NO LEAD | 779897044892 | 112
CLS-E | 1" PISTON SWEAT 114-154 FIXTURE UNITS | 779897033148 | 163
CLS-E-NPB | 1" PISTON SWEAT 114-154 FIXTURE UNITS/ NO LEAD | 779897047763 | 163
CLS-F | 1" PISTON SWEAT 155-330 FIXTURE UNITS | 779897700101 | 241
CLS-F-NPB | 1" PISTON SWEAT 155-330 FIXTURE UNITS/ NO LEAD | 779897048456 | 241
H-1150 | 1/2" HEX HEAD NYLON PIPE PLUG | 779897134753 | 22
M-500-UN | 1/2" UNION CONNECTION FOR MR/M1/M2-500 TSP MODELS | 779897135651 | 26
M1-500 | TSP PRESSURE DROP ACT. | 779897963643 | 119.5
M1-500-A | TSP PRESSURE DROP ACT/AUSTRALIA | 779897707063 | 119.5
M1-500-BA | TSP PRESSURE DROP ACT./ BUY AMERICA 51% |  | 119.5
M1-500-CTN | SINGLE CARTON M1-500 | 779897135583 | 28
M1-500-NPB | TSP PRESSURE DROP ACTIVATED/LOW LEAD | 779897004193 | 119.5
M1-500-NPB-ASSY | TSP PRESSURE DROP ACTIVATED ASSEMBLY/LOW LEAD |  | 119.5
M1-500-NPB-BA | TSP PRESSURE DROP ACTIVATED/LOW LEAD/ BUY AMRCA |  | 119.5
M1-500-NPB-CTN | SINGLE CARTON M1-500-NPB | 779897135590 | 28
M1-500-RC | REPLACEMENT CARTRIDGE FOR M1-500 SERIES BLACK | 779897661112 | 71
M1-500-RF | REPLACEMENT FILTER SCREEN/M1-500 | 779897661129 | 48
M1-500-UN | TSP PRESS DROP W/ UNION CONN | 779897054273 | 145
M2-500 | TSP PRESSURE DROP ACT. | 779897963704 | 114.5
M2-500-A | TSP PRESSURE DROP ACT/AUSTRALIA | 779897707056 | 114.5
M2-500-BA | TSP PRESSURE DROP ACT./BA | 779897135613 | 114.5
M2-500-CTN | SINGLE CARTON M2-500 | 779897135620 | 28
M2-500-NPB | TSP PRESSURE DROP ACTIVATED/LOW LEAD | 779897147999 | 114.5
M2-500-NPB-ASSY | TSP PRESSURE DROP ACTIVATED ASSEMBLY/LOW LEAD |  | 114.5
M2-500-NPB-BA | TSP PRESSURE DROP ACTIVATED/LOW LEAD/ BUY AMRCA |  | 114.5
M2-500-NPB-CTN | SINGLE CARTON M2-500-NPB | 779897135637 | 28
M2-500-RC | REPLACEMENT CARTRIDGE FOR M2-500 SERIES RED | 779897661136 | 66
M2-500-RF | REPLACEMENT FILTER SCREEN/M2-500 | 779897661143 | 48
M2-500-UN | TSP PRESS DROP W/ UNION CONN | 779897054297 | 141
M2-500-UN-NPB | TSP PRESS DROP W/ UNION CONN/ LOW LEAD |  | 141
M3-500-NPB | ADJ FLOW PRESSURE DROP TRAP SEAL PRIMER/LOW LEAD | 779897178375 | 119.5
M3-500-NPB-ME | ADJ PRESSURE DROP TRP SEAL PRMR/LOW LEAD/MIDDLE EAST |  | 119.5
M3A-500 | M3 ADJ TSP PRESSURE DROP ACT/AUSTRALIA |  | 119.5
MI-1/2 WATER | 1/2" WATER PROOF CONDUIT CONNECTOR | 779897057366 | 170
MI-1/2FLEXCON | 1/2" FLEXIBLE CONDUIT | 779897057373 | 170
MI-10-24-1-1/2 | screw #10-24X1-1/2" | 779897057380 | 17
MI-10-24-NUT | NUT #10-24 | 779897057397 | 17
MI-100-1-500-220V-AD | MI-100,1 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2030
MI-100-1-625120VACAD | ENCL TRAP SEAL PRIMER,1 PORT,5/8COMP,120VAC,COVER |  | 2030
MI-100-1/2BV | 1/2" PLASTIC BALL VALVE | 779897057403 | 176
MI-100-1/2CAP | 1/2" OUTLET CAP | 779897057410 | 23
MI-100-1/2CP | COPPER TUBE ASSEMBLY |  | 354
MI-100-1/2UNION | 1/2" BRASS UNION | 779897057434 | 23
MI-100-10-500-120VAC | ENCL TRAP SEAL PRIMER, 10 PORT, 120VAC | 779897143694 | 1957
MI-100-10-500-120VAD | ENCL TRAP SEAL PRIMER,10 PORT,1/2CONN/120VAC/ACC COVER | 779897143700 | 2153
MI-100-10-500-120VSS | ELEC TSP, 10 PORT, 1/2" COMP FITTING,120VAC/ SS ENC BX |  | 2621
MI-100-10-500-220V | ENCL TRAP SEAL PRMR,10 PORT, 220VAC-1/2" COMP FITTING |  | 1957
MI-100-10-500-220VAD | ELEC TRP SEAL PRMR/10 PORT/220V-1/2" COMP FITT/ACS CVR |  | 2153
MI-100-10-500-24V-AD | ENCL TRAP SEAL PRIMR,10 PORT,1/2COMP/24VAC/ACC DOOR |  | 2153
MI-100-10-500-24VDC | ELEC TRAP SEAL PRIMER, 10 PORT, 1/2 COMP/24VDC | 779897143724 | 1957
MI-100-10-500120ADSS | ELEC.TSP/10 PORT 1/2 CMP FITG 120v SS ACDOOR |  | 2290
MI-100-10-500120VADA | ENCL TSP,10 PORT,1/2CONN/120VAC/ALLN SCW ACC CVR |  | 2179.5
MI-100-10-50024VDCAD | ENCL TRAP SEAL PRIMER, 10 PORT, 24VDC/ACCESS COVER |  | 2153
MI-100-10-50075WS120 | ENCL ELEC TSP,10 PORT,1/2COMP,3/4" SPLY CONN, 120V |  | 1957
MI-100-10-625-120V2M | ELEC TSP,10PRT, BRASS MNF & 5/8 COMP FITNG,120V |  | 1957
MI-100-10-625-120VAC | ELEC TRAP SEAL PRIMER,10 PORT,5 /8" COMP,120VAC | 779897143731 | 1957
MI-100-10-625-120VAD | ENCL TRAP SEAL PRIMER,10 PORT,5/8COMP,120VAC/ACC COVER | 779897143762 | 2153
MI-100-10-625-120VBA | ELEC TRP SEAL PRMR,10 PRT, 5/8 COMP/120V/BUY AMRCA |  | 1957
MI-100-10-625-120VSS | ELEC TSP, 10 PORT, 5/8" COMP FITTING,120VAC/ SS ENC BX |  | 2621
MI-100-10-625-24V-2M | ELEC.TSP, 10 PORT, BRASS MNFLD & 5/8" COMP FTTNG,24VDC |  | 1957
MI-100-10-625-24V-AD | ENCL TRAP SEAL PRIMR,10 PORT,5/8COMP/24VAC/ACC DOOR |  | 2153
MI-100-10-625-24VDC | ENCL TRAP SEAL PRIMER,10 PORT,5/8 COMP,24VDC | 779897143793 | 1957
MI-100-10-625120ADSS | ELEC.TSP/10 PORT 5/8 CMP FITG 120v SS ACDOOR |  | 2290
MI-100-10-62524VDCAD | ELEC TRAP SEAL PRMR,10 PORT,5/8 COMP,24VDC/ACCSS CVR |  | 2153
MI-100-10-625500-120 | ENCL TRAP SEAL PRIMER, 10 PORT, 120VAC / 625 & 500 OUT |  | 1957
MI-100-10500120VADBA | ENCL TSP,10 PORT,1/2CONN/120VAC/ACC CVR/BUY AMRCA |  | 2153
MI-100-10625120VACAD | ENCL TRAP SEAL PRIMER,10 PORT,5/8COMP,120VAC/ACCESS DO | 779897143748 | 2153
MI-100-10625120VADBA | ENCL TSP,10 PORT,5/8 CONN/120VAC/ACC CVR/BUY AMRCA |  | 2153
MI-100-10625120VADVP | ENCL TRAP SEAL PRM,10 PORT,5/8 COMP,120VAC/ACC DOOR/VP |  | 2187
MI-100-10625220VADSS | ELEC TSP,10 PORT,3/8 CONN/220VAC/SS ACC CVR |  | 2290
MI-100-12-625-120VAC | ENCL TSP/12 PORT- 5/8" COMP/120VAC | 779897103026 | 1998
MI-100-120V-10-SA | MI-100 120V SUB ASSEMBLY FOR UP TO 10 PORTS | 779897143809 | 1957
MI-100-120V-SV-.75TH | 120VAC SOLENOID VALVE w/ .75"thread CONNECTION |  | 590
MI-100-15-500-120VAC | ENCL TRAP SEAL PRIMER, 15 PORT, 120VAC | 779897143823 | 1998
MI-100-15-500-120VAD | ENCL TSP,15 PORT,1/2COMP,120VAC/ACC DOOR |  | 2259
MI-100-15-500-120VSS | ELEC TSP, 15 PORT, 1/2" COMP FITTING,120VAC/ SS ENC BX |  | 2755
MI-100-15-500120ADSS | ELEC.TSP/15 PORT 1/2 CMP FITG 120v SS ACDOOR |  | 2396
MI-100-15-625-120VAC | ENCL TRAP SEAL PRIMER,15 PORT,5/8COMP,120VAC | 779897143830 | 1998
MI-100-15-625-120VAD | ELEC TRAP SEAL PRMR,15 PORT,5/8 COMP,120VAC/ACC DOOR |  | 2259
MI-100-15-625-120VSS | ELEC TSP, 15 PORT, 5/8" COMP FITTING,120VAC/ SS ENC BX |  | 2755
MI-100-15-625-24VDC | ENCL TRAP SEAL PRIMER,15 PORT,5/8COMP,24VDC |  | 1998
MI-100-15-625120ADSS | ELEC.TSP/15 PORT 5/8 CMP FITG 120v SS ACDOOR |  | 2396
MI-100-15625220VADSS | ELEC TSP,15 PORT,3/8 CONN/220VAC/SS ACC CVR |  | 2396
MI-100-16-500-120VAC | ELEC. TSP/120V/16 PORT-1/2" COMP FTTNG |  | 2400
MI-100-2-.37M-.5F | BRASS 3/8" NPT MALE TO 1/2" FEMALE ADAPTER |  | 23
MI-100-2-.5M-.37F | BRASS 1/2"NPT MALE TO 3/8"NPT FEMALE ADAPTER |  | 23
MI-100-2-10-625-120 | BRASS PIPING ELEC.TRAP PRIMER,10 PORT,5/8"FTNG,120VAC | 779897143854 | 1957
MI-100-2-15-625-120 | ENCL TRAP SEAL PRIMER,15 PORT,5/8COMP,120VAC BRASS FIT |  | 1998
MI-100-2-15-625120AD | 12" POLY PROPYLENE |  | 2259
MI-100-2-5-625-120 | BRASS PIPING ELEC.TRAP PRIMER,5 PORT,5/8"FTNG,120VAC | 779897143878 | 1838
MI-100-2-5-625-120AD | BRASS PIPING ELEC.TRAP PRMR,5 PRT,5/8"FTNG,120VAC DOOR |  | 2034
MI-100-2-500-220V-AD | MI-100,2 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2034
MI-100-2-625120VACAD | ENCL TRAP SEAL PRIMER,2 PORT,5/8COMP,120VAC,COVER |  | 2030
MI-100-2-ADPT-.37-.5 | BRASS 3/8" NPT TO 1/2" THREADED ADAPTER |  | 59
MI-100-2-CAP-.37 | BRASS MANIFOLD PORT CAP 3/8" |  | 23
MI-100-2-CAP-.50 | BRASS MANIFOLD PORT CAP 1/2" |  | 23
MI-100-2-COMP-.37-.5 | BRASS 3/8" NPT TO 1/2" COMPRESSION FITTING |  | 23
MI-100-2-COMP-.37-.6 | BRASS 3/8" NPT TO 5/8" COMPRESSION FITTING |  | 23
MI-100-2-COMP-.5-.5 | BRASS 1/2" NPT TO 1/2" COMPRESSION FITTING |  | 23
MI-100-2-COMP-.5-.62 | BRASS 1/2" NPT TO 5/8" COMPRESSION FITTING |  | 23
MI-100-2-COMP-.5-.75 | BRASS 1/2" COMPRESSION FITTING |  | 23
MI-100-2-FFM-TEE-.37 | 3/8"NPT BRASS FEMALE X FEMALE X MALE TEE |  | 23
MI-100-2-FFM-TEE-.5 | 1/2" NPT FEMALE X FEMALE X MALE TEE |  | 23
MI-100-2-MF-ELBOW-.5 | 1/2"NPT FEMALE X MALE BRASS ELBOW |  | 23
MI-100-2-MFELBOW-.37 | 3/8"NPT FEMALE X MALE BRASS ELBOW |  | 23
MI-100-2-PIPE-2.5L-5 | 1/2" NPT BRASS NIPPLE 2 1/2" LONG |  | 23
MI-100-2-PIPE-3.5L-3 | 3/8" NPT BRASS NIPPLE 3 1/2" LONG |  | 23
MI-100-2-PIPE-4L-.5 | 1/2" NPT BRASS NIPPLE 4" LONG |  | 23
MI-100-2-PIPE-6L-.5 | 1/2" NPT BRASS NIPPLE 6" LONG |  | 23
MI-100-2-PLUG-.37 | BRASS MANIFOLD PORT PLUG 3/8" |  | 23
MI-100-2-WYE-.37 | 3/8" NPT BRASS FEMALE WYE |  | 23
MI-100-20-500-120VAC | ENCL TRAP SEAL PRIMER, 20 PORT, MI-DU 500, 115V | 779897103034 | 2400
MI-100-20-500-120VAD | ENCL TRAP SEAL PRIMER,20 PORT,1/2COMP,120VAC/ACC DOOR |  | 2661
MI-100-20-500-120VSS | ELEC TSP, 20 PORT, 1/2" COMP FITTING,120VAC/ SS ENC BX |  | 3157
MI-100-20-500-220V | ENCL TRAP SEAL PRIMER,20 PORT,1/2COMP,220VAC |  | 2400
MI-100-20-500-24VDC | ELECTRAP SEAL PRMR/ 20 PRT- 1/2" COMP 24VDC | 779897103035 | 2400
MI-100-20-500120ADSS | ELEC TRAP SEAL PRMR,20 PORT,1/2COMP,120VAC/SS ACC COVR |  | 2798
MI-100-20-625-120VAC | ELEC TRAP SEAL PRIMER, 20 5/8"PORTS, 120VAC | 779897103036 | 2400
MI-100-20-625-120VAD | ELEC TRAP SEAL PRMR,20 PORT, 5/8 COMP,120VAC/ACC DOOR |  | 2661
MI-100-20-625-220VAC | ENCL TRAP SEAL PRIMER,20 PORT,5/8COMP,220VAC |  | 2400
MI-100-20-625-220VAD | ENCL TRAP SEAL PRIMER/20 PORT/.625 COMP/220V/ACC DOOR | 779897143847 | 2661
MI-100-20-625-24VDC | ENCL TRAP SEAL PRIMER,20 PORT,5/8COMP,24VDC |  | 2400
MI-100-200-300-CNT | MI-100,200,300 CARTON |  | 35
MI-100-24V-ADAPTER | 24 VDC ADAPTER FOR MI-100 SERIES |  | 118
MI-100-24V-XFMR | 24 VDC TRANSFORMER |  | 118
MI-100-25-500-120VAC | ELEC TRAP SEAL PRIMER, 25 PORT, 1/2" COMP/120VAC | 779897178320 | 2572
MI-100-25-500-120VAD | ELEC TSP, 25, 1/2" PORTS, 120VAC/ACCESS CVR |  | 2905
MI-100-25-500-120VSS | ELEC TSP, 25 PORT, 1/2" COMP FITTING,120VAC/ SS ENC BX |  | 3468
MI-100-25-500-220V | ENCL TRAP SEAL PRIMER,25 PORT,1/2COMP,220VAC |  | 2572
MI-100-25-500-24VAC | ELEC TRAP SEAL PRIMER, 25 PORT, 1/2" COMP/24VAC |  | 2572
MI-100-25-625-120VAC | ELEC TRAP SEAL PRIMER,25 PORT,5 /8" COMP,120VAC |  | 2572
MI-100-25-625-120VAD | ELEC TRAP SEAL PRMR,25 PORT,5 /8" COMP,120VAC/ACCS CVR |  | 2905
MI-100-3-500-220V-AD | MI-100,3 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2030
MI-100-3-625-120VAC | ELEC.TRAP SEAL PRIMER, 3 PORT, 5/8" COMP FITTING, 120V |  | 1838
MI-100-30-500-120VAC | ELEC.TRAP SEAL PRIMER 30 PORTS 1/2" FITTNG /120V | 779897178337 | 2741
MI-100-30-500-120VAD | ELEC TRAP SEAL PRMR,30 PORT, 1/2 COMP,120VAC/ACC DOOR |  | 3074
MI-100-30-500-120VSS | ELEC TSP,30 PORT-1/2" COMP FITTING,120VAC/SS ENC BOX |  | 3637
MI-100-30-625-120VAC | ELEC.TRAP SEAL PRIMER 30 PORTS 5/8"/ 120V |  | 2741
MI-100-30-625-120VAD | ELEC TRAP SEAL PRMR,30 PORT, 5/8 COMP,120VAC/ACC DOOR | 779897143885 | 3074
MI-100-30-625-220VAD | ENCL TRAP SEAL PRIMER/30 PORT/.625 COMP/220V/ACC DOOR | 779897143892 | 3074
MI-100-30-625-24VDC | ENCL TRAP SEAL PRIMER,30 PORT,5/8COMP,24VDC |  | 2741
MI-100-35-500-120VAC | ENCL TRAP SEAL PRIMER/35 PORT/ 1/2" COMP/120V |  | 3196
MI-100-35-625-120VAC | ENCL TRAP SEAL PRIMER/35 PORT/ 5/8" COMP/120V |  | 3196
MI-100-35625120VADSS | ENCL TRAP SEAL PRMR/35 PORT-5/8" COMP/120V/SS ACSS DR |  | 3661
MI-100-4-500-220V-AD | MI-100,4 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2030
MI-100-5-500-120ADSS | ELEC.TRAP SEAL PRMR/5 PORT 1/2 CMP FITG 120v SS ACDOOR |  | 2171
MI-100-5-500-120V-BA | ELEC TRP SEAL PRMR,5 PRT, 1/2 COMP/120V/BUY AMRCA |  | 1838
MI-100-5-500-120V-SS | ELEC TSP, 5 PORT, 1/2 COMP/120VAC/SS ENC BOX |  | 2502
MI-100-5-500-120V-UA | ELEC TRP SEAL PRMR 5 PORT, 1/2 COMP/120V/ ACCSS DOOR |  | 2034
MI-100-5-500-120VAC | ELEC TRAP SEAL PRIMER, 5 PORT, 1/2 COMP/120VAC | 779897143908 | 1838
MI-100-5-500-120VAD | ELEC TRAP SEAL PRMR,5 PORT,1/2 COMP/120VAC/CABNT COVER | 779897143915 | 2030
MI-100-5-500-220V | MI-100,5 PORT, 220VAC-1/2" COMP FITNG |  | 1838
MI-100-5-500-220V-AD | MI-100,5 PORT, 220VAC-1/2" COMP FITNG/ACCSS CVR |  | 2030
MI-100-5-500-24VAC | ELEC TRAP SEAL PRIMER, 5 PORT, 1/2" COMP, 24VAC |  | 1838
MI-100-5-500-24VDC | ELEC TRAP SEAL PRIMER, 5 PORT, 1/2" COMP, 24VDC | 779897143922 | 1838
MI-100-5-500-24VDCAD | ELEC TSP/5 PORT-1/2" COMP/24VDC/ACC COVER | 779897143939 | 2030
MI-100-5-500120V75WS | ELEC.TSP, 5 PORT, 1/2" COMP FITTING, 120V-3/4" WTR SUP |  | 1838
MI-100-5-500220VADSS | MI-100,5 PORT, 220VAC-1/2" COMP FITNG/SS ACCSS DR |  | 2171
MI-100-5-500AD120VAC | ELEC TRAP SEAL PRIMER, 5 PORT, 1/2 COMP/CAB CVR/120VAC |  | 2030
MI-100-5-625-120ADSS | ELEC.TRAP SEAL PRMR/5 PORT 5/8 CMP FITG 120v SS ACDOOR |  | 2171
MI-100-5-625-120V-2M | ELEC.TSP, 5 PORT, BRASS MNFLD & 5/8" COMP FTTNG,120V |  | 1838
MI-100-5-625-120V-3P | ELEC TRAP SEAL PRMR,5 PORT,5/8" COMP FIT,120VAC/3-PRNG |  | 2030
MI-100-5-625-120V-AD | ELEC.TRAP SEAL PRIMER, 5 PORT 5/8 CMP, CABINET COVER | 779897143953 | 2034
MI-100-5-625-120V-BA | ELEC TRP SEAL PRMR,5 PRT, 5/8 COMP/120V/BUY AMRCA |  | 1838
MI-100-5-625-120V-SS | ELEC TSP, 5 PORT, 5/8" COMP FITTING,120VAC/ SS ENC BOX |  | 2502
MI-100-5-625-120VAC | ELEC.TRAP SEAL PRIMER, 5 PORT, 5/8" COMP FITTING, 120V | 779897143946 | 1838
MI-100-5-625-120VAD | ELEC TRAP SEAL PRMR,5 PORT,5/8 COMP/120VAC/CABNT COVER |  | 2034
MI-100-5-625-220VAC | ENCL TRAP SEAL PRIMER,5 PORT,5/8COMP,220VAC |  | 1838
MI-100-5-625-24V-2M | ELEC.TSP, 5 PORT, BRASS MNFLD & 5/8" COMP FTTNG,24VDC |  | 1838
MI-100-5-625-24VAC | ELEC TRAP SEAL PRMR, 5 PORT, 5/8" COMP FITTING, 24VAC |  | 1838
MI-100-5-625-24VDC | ELEC TRAP SEAL PRMR, 5 PORT, 5/8" COMP FITTING, 24VDC | 779897143984 | 1838
MI-100-5-625-24VDCAD | ELEC TSP, 5 PORT, 5/8" COMP FITTING, 24VDC/ACSS CVR |  | 2030
MI-100-5-625120V2MAD | ELEC TSP,5 PORT,BRASS MNFLD-5/8" COMP FT,120V/AD COVER |  | 2030
MI-100-5-625120V3PAD | ELEC TSP 5 PORT,5/8" COMP FIT,120VAC/3-PRNG/ACCS CVR |  | 2226
MI-100-5-625120V3PSS | ELEC TSP 5 PORT,5/8" COMP FIT,120VAC/3-PRNG/SS ENC BX |  | 2694
MI-100-5-625120V75WS | ELEC.TSP, 5 PORT, 5/8" COMP FITTING, 120V-3/4" WTR SUP |  | 1838
MI-100-5-625120VADVP | ELEC TSP, 5 PORT 5/8 CMP FITNG 120V ACSS CVR/VP |  | 2030
MI-100-5-625220VADSS | ELEC TRAP SEAL PRM/5 PORT 5/8 CMP FIT 220VAC SS ACDOOR |  | 2030
MI-100-5/8CAP | 5/8" OUTLET CAP | 779897057755 | 23
MI-100-5500220VAD75T | 5 PRT, 220VAC-1/2" COMP FITNG/ACCSS DR-3/4"THR WTR SUP |  | 2030
MI-100-56251202M75WS | MI100 5 PRT, BRSS MNF,5/8 COMP FTNG,120V,3/4" WTR SUPP |  | 1838
MI-100-6-500-220V-AD | MI-100,6 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2153
MI-100-7-500-220V-AD | MI-100,7 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2153
MI-100-8-500-120V-AD | ENCL TRAP SEAL PRIMER,8 PORT,1/2CONN/120VAC/ACC COVER |  | 2153
MI-100-8-500-220V-AD | MI-100,8 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2153
MI-100-80SPA | PIPE SUPPORT A SPACER BEHIND 1/2" PIPES | 779897057816 | 59
MI-100-9-500-220V-AD | MI-100,9 PORT, 220VAC-1/2" COMP FITNG/ACCSS DR |  | 2153
MI-100-95SPA | PIPE SUPPORT B SPACER BEHIND 3/4" PIPES | 779897057823 | 59
MI-100-AD | CABINET COVER FOR MI-100, UP TO 10 OUTLETS | 779897020728 | 195
MI-100-AD-10-376364 | CABINET COVER FOR SPECIAL MI-100/10 PORT/INV#376364 | 779897143991 | 413
MI-100-AD-10-CL-A | CABINET COVER FOR MI-100, UP TO 10 OUTLETS/CL-A OPTION |  | 354
MI-100-AD-10-H16 | CUSTM ACCESS COVER 0-10 PORT FOR MI-100-ST-ENC-10-H16 |  | 260
MI-100-AD-20 | CABINET COVER FOR MI-100, UP TO 20 OUTLETS | 779897144011 | 260
MI-100-AD-20-CL-A | CABINET COVER FOR MI-100, UP TO 20 OUTLETS/CL-A OPTION |  | 354
MI-100-AD-30 | CABINET COVER FOR MI-100, UP TO 30 OUTLETS | 779897144028 | 333
MI-100-AD-40 | CABINET COVER FOR MI-100, UP TO 31-40 OUTLETS | 779897144035 | 413
MI-100-AD-A | CABINET CVR FOR MI-100, UP TO 10 OUTLETS w/ALLEN SCRWS |  | 236
MI-100-AD-ARRA | MI-100 CABINET CVR, UP TO 10 OUTLETS-100% AMRCN MADE |  | 354
MI-100-AD-CLIP | PANEL NUT FOR DOOR |  | 59
MI-100-ADSS | SS CABINET COVER FOR MI-100, UP TO 10 OUTLETS | 779897144042 | 333
MI-100-ADSS-10-ARRA | SS CABINET COVER/ 0-10 PORTS/ 100% AMERICAN MADE |  | 333
MI-100-ADSS-20 | SS CABINET COVER FOR MI-100,11-20 OUTLETS | 779897144059 | 398
MI-100-ADSS-30 | SS CABINET COVER FOR MI-100,21-30 OUTLETS | 779897144066 | 465
MI-100-ADSS-40 | SS CABINET COVER FOR MI-100,31-40 OUTLETS | 779897144073 | 530
MI-100-COMP-1/2 | NYLON 1/2" NPT TO 1/2" COMPRESSION FITTING |  | 23
MI-100-COMP-5/8 | NYLON 1/2" NPT TO 5/8" COMPRESSION FITTING |  | 23
MI-100-COND-ADAPTER | MI-100 CONDUIT ADAPTER |  | 23
MI-100-COP-ADAPTER | 1/2" NPT TO COPPER TUBE ADAPTER |  | 23
MI-100-COP-THR-.75 | 1/2" TUBE TO 3/4 "NPT MALE COPPER SOLDER-CONNCT FITTNG |  | 23
MI-100-COP-TUBE | 1/2" COPPER TUBE 6" LONG |  | 23
MI-100-COP-TUBE-3/4 | 3/4" COPPER TUBE 6" LONG |  | 23
MI-100-COV-3024 | STEEL ENCLOSURE WITH 30" x 24" COVER DOOR |  | 354
MI-100-CP-PM-10 | 10 PORT 3/4" COPPER MANIFOLD FOR MI-100 |  | 236
MI-100-CP-PM-20 | 20 PORT 3/4" COPPER MANIFOLD FOR MI-100 |  | 294
MI-100-CP-PM-30 | 30 PORT 3/4" COPPER MANIFOLD FOR MI-100 |  | 354
MI-100-CP-PM-5 | 5 PORT 3/4" COPPER MANIFOLD FOR MI-100 |  | 236
MI-100-CTN | CARTON FOR MI-100 | 779897057854 | 35
MI-100-DR-10-500120V | ELEC TSP PRESS VB/10 PORTS-1/2" FITT /120VAC |  | 2211
MI-100-DR-10-625120V | ELEC TSP PRESS VB/10 PORTS-5/8" FITT /120VAC |  | 2211
MI-100-DR-1062524VAC | ELEC TSP PRESS VB/10 PORTS-5/8" FITT /24VAC |  | 2102
MI-100-DR-15-500120V | ELEC TSP PRESS VB/15 PORTS-1/2" FITT /120VAC |  | 2249
MI-100-DR-15-625120V | ELEC TSP PRESS VB/15 PORTS-5/8" FITT /120VAC |  | 2249
MI-100-DR-20-500120V | ELEC TSP PRESS VB/20 PORTS-1/2" FITT /120VAC |  | 2651
MI-100-DR-20-625120V | ELEC TSP PRESS VB/20 PORTS-5/8" FITT /120VAC |  | 2651
MI-100-DR-25-500120V | ELEC TSP PRESS VB/25 PORTS-1/2" FITT /120VAC |  | 2822
MI-100-DR-25-625120V | ELEC TSP PRESS VB/25 PORTS-5/8" FITT /120VAC |  | 2822
MI-100-DR-30-500120V | ELEC TSP PRESS VB/30 PORTS-1/2" FITT /120VAC |  | 2991
MI-100-DR-30-625120V | ELEC TSP PRESS VB/30 PORTS-5/8" FITT /120VAC |  | 2991
MI-100-DR-5-500-120V | ELEC TSP PRESS VB/5 PORTS-1/2" FITT /120VAC |  | 2088
MI-100-DR-5-625-120V | ELEC TSP PRESS VB/5 PORTS-5/8" FITT /120VAC |  | 2088
MI-100-DR-5500120V3P | ELEC TSP PRESS VB/5 PORTS-1/2" FITT /120VAC/3PRONG PLG |  | 2132
MI-100-DR-5500120VAD | ELEC TSP PRESS VB/5 PORTS-1/2" FITT /120VAC/ACCSS CVR |  | 2135
MI-100-DR-5625120VAD | ELEC TSP PRESS VB/5 PORTS-5/8" FITT /120VAC/ACCSS CVR |  | 2135
MI-100-DR-AD-10 | MI-100-DR SERIES STEEL CABINET COVER 0-10 PORTS |  | 183
MI-100-DR-AD-20 | MI-100-DR SERIES STEEL CABINET COVER 11-20 PORTS |  | 243
MI-100-DR-AD-30 | MI-100-DR SERIES STEEL CABINET COVER 21-30 PORTS |  | 310
MI-100-DR-AD-SS-10 | MI-100-DR SERIES SS CABINET COVER 0-10 PORTS |  | 310
MI-100-DR-AD-SS-20 | MI-100-DR SERIES SS CABINET COVER 11-20 PORTS |  | 372
MI-100-DR-AD-SS-30 | MI-100-DR SERIES SS CABINET COVER 21-30 PORTS |  | 434
MI-100-DR10500120V3P | ELEC TSP PRESS VB/10 PORTS-1/2" FITT/120VAC/3PRONG PLG |  | 2245
MI-100-DR10500120VAD | ELEC TSP PRESS VB/10 PORTS-1/2" FITT /120VAC/ACCSS CVR |  | 2248
MI-100-DR15500120V3P | ELEC TSP PRESS VB/15 PORTS-1/2" FITT/120VAC/3PRONG PLG |  | 2282
MI-100-DR15500120VAD | ELEC TSP PRESS VB/15 PORTS-1/2" FITT /120VAC/ACCSS CVR |  | 2391
MI-100-DR20500120V3P | ELEC TSP PRESS VB/20 PORTS-1/2" FITT/120VAC/3PRONG PLG |  | 2658
MI-100-DRSS20625120V | ELEC TSP PRESS VB/SS ENC BOX/20 PORTS-5/8" FITT/120VAC |  | 3358
MI-100-DS | MAIN DOWNSPOUT W/UNION NUT | 779897057861 | 35
MI-100-ELBOW | 1/2" NPT ELBOW | 779897057878 | 35
MI-100-ELBOW-BARBED | 1/2" MALE TO BARBED FITTING 90 DEGREE ELBOW |  | 35
MI-100-ENC-ST-AC | ACCESS COVER FOR MI-100 - OLD STYLE |  | 294
MI-100-ENC20-SAMPLE | ELEC TSP 5 PORT-1/2 COMP/120V/CUSTM ENC BOX/SAMPLE |  | 1838
MI-100-EW | MI-100 ELECTRIC WIRE CORD 12" LONG |  | 23
MI-100-EWF | MI-100 ELECTRIC WIRE CORD FITTING |  | 23
MI-100-FILTER | 1/2" SS FILTER (25/PK) #8753T34/60 MESH | 779897057892 | 23
MI-100-FLAG-TERM | INSULATED STD. BARREL FLAG CONNECTOR | 779897057922 | 23
MI-100-LABEL | MI-100 MODEL NUMBER LABEL | 779897144080 | 23
MI-100-MANIFOLD | 5 PORT MANIFOLD FOR MI-100/200/300 |  | 236
MI-100-NIPPLE-.50 | 1/2" X 1-1/2" NPT PVC NIPPLE, CLOSED FULLY THREADED |  | 23
MI-100-NIPPLE1.7 | 1.7"X1/2" BRASS NIPPLE | 779897058301 | 23
MI-100-PBP | BATTERY PACK FOR ELECTRIC TRAP SEAL PRIMERS 12V |  | 354
MI-100-PC1/2 | PIPE CLIP B NOVA KLIC 22-23 1/2" |  | 23
MI-100-PC3/4 | PIPE CLIP B NOVA KLIC 22-23 3/4" | 779897058332 | 23
MI-100-PIPE-1.125 | 1/2" POLY 1.125" STRAIGHT NIPPLE |  | 23
MI-100-PIPE-2.5 | 1/2" POLY 2.5" STRAIGHT PIPE |  | 23
MI-100-PIPE-3.0 | 1/2" POLY 3" STRAIGHT PIPE |  | 23
MI-100-PIPE-5.5 | 1/2" POLY 5.5" STRAIGHT PIPE |  | 23
MI-100-PIPE-CLIP | 1/2" PIPE MOUNTING CLIP |  | 23
MI-100-PIPE-CLIP-NUT | NUT FOR MI-100-PIPE-CLIPS |  | 23
MI-100-PIPE-ELBOW | 1/2" MALE TO FEMALE 90 DEGREE ELBOW |  | 23
MI-100-PLUG | MANIFOLD PORT PLUG 1/2" | 779897058349 | 23
MI-100-PORT16 | 16 PORT MANIFOLD ASSEMBLE | 779897058356 | 413
MI-100-PORT32 | 32 PORT MANIFOLD ASSEMBLE | 779897058363 | 590
MI-100-PROTOTYPE | MI-100-PROTOTYPE |  | 1838
MI-100-S16-AD | ENCLOSURE 16" CENTER STUD ACCESS DOOR FOR MI-100 | 779897020742 | 333
MI-100-S16-CTN | CARTON FOR MI-100-S16 | 779897080937 | 23
MI-100-SEALANT | Thread Sealant for MI-100 |  | 23
MI-100-SS-AD | SS ENCLOSURE ACCESS DOOR FOR MI-100 | 779897144097 | 333
MI-100-SS-ENC | STAINLESS STEEL ENCLOSURE 1-10 PORT | 779897144103 | 333
MI-100-SS-ENC-20 | STAINLESS STEEL ENCLOSURE TO 11-20PORT | 779897144110 | 398
MI-100-SS-ENC-30 | STAINLESS STEEL ENCLOSURE 21-30PORT | 779897144127 | 465
MI-100-SS-ENC-40 | STAINLESS STEEL ENCLOSURE 31-40PORT | 779897144134 | 590
MI-100-ST-AD-20 | CABINET COVER FOR MI-100-ST-ENC-20, UP TO 20 OUTLETS |  | 398
MI-100-ST-AD-20-2.5D | 2.5" DEEP CABINET COVER FOR MI-100-ST-ENC-20 |  | 398
MI-100-ST-ENC | STEEL ENCLOSURE 0-10 PORT | 779897058424 | 530
MI-100-ST-ENC-10-CLA | STEEL ENCLOSURE 0-10 PORT/FOR CL-A OPTION |  | 530
MI-100-ST-ENC-10-H16 | STEEL ENCLOSURE 0-10 PORT/CUST HEIGHT=16"/3" ABOVE VB |  | 590
MI-100-ST-ENC-20 | STEEL ENCLOSURE 11-20 PORT | 779897144141 | 590
MI-100-ST-ENC-20-CLA | STEEL ENCLOSURE 11-20 PORT/FOR CL-A OPTION |  | 590
MI-100-ST-ENC-30 | STEEL ENCLOSURE 21-30 PORT | 779897144158 | 708
MI-100-ST-ENC-40 | STEEL ENCLOSURE 31-40 PORT | 779897144165 | 797
MI-100-ST-ENC-BA | MI-100 STEEL ENCLOSURE 1-10 PORT- BUY AMERICA | 779897144172 | 530
MI-100-ST-ENC-EB | MODULE ELECTRICAL BOX FOR MI-100-ST-ENC |  | 530
MI-100-ST-ENC-MF | STEEL ENCLOSURE MOUNTING FLANGE |  | 118
MI-100-SV | ASCO #AS8210G2 SOLENOID VALVE 120V | 779897058448 | 266
MI-100-SV-12-SS | 12VdC STAINLESS STEEL SOLENOID VALVE |  | 266
MI-100-SV-120-.75SWT | 120VAC SOLENOID VALVE w/ .75" SWEAT CONNECTION |  | 266
MI-100-SV-120VAC | 120VAC SS SOLENOID VALVE FOR ELECTRONIC TSP UNITS |  | 266
MI-100-SV-220-SS | 220VAC STAINLESS STEEL SOLENOID VALVE |  | 266
MI-100-SV-24-SS | 24VDC STAINLESS STEEL SOLENOID VALVE |  | 266
MI-100-SV-24VAC | 24VAC SS SOLENOID VALVE FOR ELECTRONIC TSP UNITS |  | 266
MI-100-SV-SS | 120VAC STAINLESS STEEL SOLENOID VALVE |  | 266
MI-100-SV-SS-SC.50 | SLOW CLOSE- 1/2" CONN 120VAC SS SOLENOID VALVE |  | 266
MI-100-TEE-BARBED | 1/2" BARBED TEE FITTING |  | 23
MI-100-TERMINAL-90 | QUICK DISCONNECT FEMALE 16-14 AWG .25"W, .032 | 779897020759 | 23
MI-100-TUBE-500 | 1/2"ID REINFORCED TYGON TUBING |  | 23
MI-100-TUBE-CLAMP | TUBE CLAMP FOR 3/4" OUTSIDE DIA TUBE |  | 23
MI-100-UL-LABEL | UL LABEL FOR MI-100 |  | 176
MI-100-VB | 1/2" BRONZE VACUUM BREAKER(MCMASTER CARR 47685K112) | 779897058479 | 118
MI-10010500SS120ADSS | ELEC TSP/10 PORT-1/2 CMP FIT/120VAC/SS ENC BOX/SS COVR |  | 2954
MI-10010625120V2MADS | ELEC TSP,10PRT, BRASS MNF & 5/8 COMP FITNG,120V/SS CVR |  | 2290
MI-1001500220V75ADSS | MI-100/1 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2171
MI-100156251202M75WS | MI100 15 PRT, BRSS MNF,5/8 COMP FTNG,120V,3/4" WTR SUP |  | 1998
MI-1002500220V75ADSS | MI-100/2 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2171
MI-1003500220V75ADSS | MI-100/1 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2171
MI-1004500220V75ADSS | MI-100/4 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2171
MI-1005500120V2MADPA | eTSP,5 PRT, BRSS MNFLD-1/2" COMP FTNG,120V/ACC CVR/PSA |  | 2030
MI-1005500120V2MADSS | ELEC TSP,5 PRT, BRASS MNF & 1/2 COMP FITNG,120V/SS CVR |  | 2171
MI-1005500220V75ADSS | MI-100/5 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2171
MI-1005625120V2MADSS | ELEC TSP,5 PRT, BRASS MNF & 5/8 COMP FITNG,120V/SS CVR |  | 2171
MI-1005625120V75WSAD | ELECTSP-5 PORT-5/8" COMP FIT,120V-3/4" WTR SUPP/ACCCVR |  | 2171
MI-1006500220V75ADSS | MI-100/6 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2290
MI-1007500220V75ADSS | MI-100/7 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2290
MI-1008500220V75ADSS | MI-100/8 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2290
MI-1009500220V75ADSS | MI-100/9 PORT-1/2"CMP FT/220VAC-3/4" WTR SUP/SS ACS DR |  | 2290
MI-125BRKKIT | 125 BREAKER KIT | 779897080944 | 118
MI-125VACSW | PUSHBUTTON SWITCH 125VAC 10A SCA-2987-1 | 779897058516 | 59
MI-12AWG-BLACK | WIRE- 12 AWG BLACK GRAINGER #6X794 |  | 23
MI-12AWG-BLACK-24IN | 24" LONG WIRE- 12 AWG BLACK GRAINGER #6X794 |  | 23
MI-12AWG-GREEN | WIRE-12 AWG GREEN GRAINGER #2W407 | 779897058530 | 23
MI-12AWG-GREEN-24IN | 24" LONG WIRE-12 AWG GREEN GRAINGER #2W407 |  | 23
MI-12AWG-WHITE | WIRE-12 AWG WHITE GRAINGER #6X793 |  | 23
MI-12AWG-WHITE-24IN | 24" LONG WIRE-12 AWG WHITE GRAINGER #6X793 |  | 23
MI-14AWG | 14 AWG STRANDED WIRE GRAY GRAINGER # 5C984 | 779897058554 | 23
MI-14AWG-BLACK | WIRE- 14AWG BLACK GRAINGER #6X794 |  | 23
MI-14AWG-GREEN | WIRE-14 AWG GREEN GRAINGER #2W407 |  | 23
MI-14AWG-RED | WIRE- 14AWG REDGRAINGER #6X795 |  | 23
MI-14AWG-WHITE | WIRE-14 AWG WHITE GRAINGER #6X793 |  | 23
MI-160406-2000 | QUICK WIRE RING LUG 160406 | 779897058578 | 23
MI-200-1-625-120VAC | ELEC.TRAP SEAL PRIMER MI-200, 120VAC - 1 PORT |  | 497
MI-200-10-500-120VAC | ELEC.TSP MI-200, 10 PORT- 1/2" CONN/ 120VAC |  | 616
MI-200-10-500-24VDC | ELEC.TSP MI-200, 10 PORT- 1/2" CONN/ 24VDC |  | 616
MI-200-120VAC | 120VAC ELEC TSP MI-200 SUBASSEMBLY | 779897058608 | 497
MI-200-2-625-120VAC | ELEC.TRAP SEAL PRIMER MI-200, 115V/MI-DU-625/ 2 PORT |  | 497
MI-200-24VAC | 24VAC ELEC TSP MI-200 SUBASSEMBLY |  | 497
MI-200-24VDC | 24VDC ELEC TSP MI-200 SUBASSEMBLY | 779897058615 | 497
MI-200-3-625-120VAC | ELEC.TRAP SEAL PRIMER MI-200, 115V/MI-DU-625/ 3 PORT |  | 497
MI-200-4-625-120VAC | ELEC TRAP SEAL PRIMER/4 PORT-5/8" CONN/120V |  | 497
MI-200-5-500-24VAC | ELEC TRP SEAL PRMR MI-200, 24VAC/5 PORT 1/2" |  | 497
MI-200-5-500-24VDC | ELEC TRP SEAL PRMR MI-200, 24VAC/5 PORT 1/2" |  | 497
MI-200-5-625-120VAC | ELEC.TRAP SEAL PRIMER MI-200, 120VAC/ 5 PORT 5/8" |  | 497
MI-200-5-625-24VAC | ELEC TRP SEAL PRMR MI-200, 24VAC/5 PORT 5/8" |  | 497
MI-200-500-120VAC | ELEC.TRAP SEAL PRIMER MI-200, 120VAC, 5 PORT MANIFOLD | 779897144196 | 497
MI-200-500-120VAC-LM | ELEC TRAP SEAL PRIMER 1/2" FIP, 120VAC/LESS MANIFOLD |  | 376
MI-200-500-220VAC | ELEC TSP, 220VAC,5 PORT-1/2" COMP FITT |  | 497
MI-200-500-220VACENC | ELEC TSP, 220VAC,5 PORT-1/2" COMP FITT/STL ENCL |  | 1360
MI-200-500-24VAC-ENC | ELEC TRAP SEAL PRIMER, 5 PORT, 1/2 COMP/24VAC/ENC BOX |  | 708
MI-200-500-24VDC | ELEC.TRAP SEAL PRIMER MI-200, 24V/MI-DU-500 | 779897178344 | 497
MI-200-500-24VDC-LM | ELEC TRAP SEAL PRIMER 1/2" COMP FITT/24VDC/LESS MANFLD |  | 376
MI-200-50024VACENCAD | ELEC TSP MI-200, 24VAC/5 PORT 1/2"- ENC BOX/ACCSS CVR |  | 942
MI-200-625-120VAC | ELEC.TRAP SEAL PRIMER MI-200, 115V/MI-DU-625 | 779897144202 | 497
MI-200-625-120VENCAD | ELEC TSP w/AIR GAP,5/8 COMP FIT,120VAC/ENC BX/ACCS CVR |  | 881
MI-200-625-120VENCSS | ELEC TSP 5/8" COMP PORT/120VAC/SS ENCLOSURE |  | 954
MI-200-625-24V-ENCSS | ELEC TSP MI-200, 24V/5 PORTS 5/8"- SS ENCLSRE |  | 954
MI-200-625-24VDC | ELEC.TRAP SEAL PRIMER MI-200, 24V/5 PORTS 5/8" | 779897144219 | 497
MI-200-62524VACENCAD | ELEC TSP MI-200, 24VAC/5 PORT 5/8"- ENC BOX/ACCSS CVR |  | 942
MI-200-7-500-120VAC | ELEC.TSP MI-200, 7 PORT- 1/2" CONN/ 120VAC |  | 616
MI-200-7-625-120VAC | ELEC.TSP MI-200, 7 PORT- 5/8" CONN/ 120VAC |  | 616
MI-200-8-500-120VAC | ELEC.TSP MI-200, 8 PORT- 1/2" CONN/ 120VAC |  | 616
MI-200-8-500-24VDC | ELEC.TSP MI-200, 8 PORT- 1/2" CONN/ 24VDC |  | 616
MI-200-AD | CABINET COVER FOR MI-200, UP TO 10 OUTLETS |  | 186
MI-200-ADSS | SS CABINET COVER FOR MI-200, UP TO 10 OUTLETS |  | 318
MI-200-AG | AEREATOR | 779897058622 | 118
MI-200-CTN | CARTON FOR MI-200 | 779897058639 | 59
MI-200-ENC | STEEL ENCLOSURE FOR MI-200 |  | 259
MI-200-ENC-SS | SS ENCLOSURE FOR MI-200 |  | 456
MI-200/300-CONV-KIT | CONV KIT FROM MI-200 TO MI-300 | 779897144189 | 708
MI-200625-120VAC-ENC | ELEC.TSP MI-200, 115V-5/8" COMP/ENCLSD |  | 756
MI-200625120VENCADSS | ELEC TSP 5/8" COMP PORT/120V/5-PORT/ENC BX/SS COVER |  | 1271
MI-250BRKKIT | 250 BREAKER KIT | 779897058646 | 118
MI-250VACSW | 250VAC PUSHBUTTON SWITCH #SCA-2987-1 | 779897058653 | 59
MI-300-1-625-120-ENC | MI-300 ONE 5/8" PORT/120V/ ENCLSR BX |  | 1360
MI-300-1-625-120V | MI-300 ONE 5/8" PORT/120V |  | 1036
MI-300-10-625-120VAC | ELEC. TRAP SEAL PRIMER,10 PORT,5/8" COMP FITTING,120VA |  | 1036
MI-300-120VAC-ENCSS | 120V ELEC.TSP/SS ENCLOSURE |  | 1493
MI-300-120VAC-SA | 120VAC ELEC TSP MI-300 SUBASSEMBLY |  | 1036
MI-300-220VAC-ENC | 220 ELEC.TSP WITH ENCLOSURE/NO AIRGAP OR MANIFOLD |  | 1360
MI-300-24VDC | 24V ELEC.TRAP SEAL PRIMER | 779897144233 | 1036
MI-300-500-120-ENCSS | MI-300 1/2" PORTS/120V w/SS ENCLOSURE |  | 1493
MI-300-500-120V-ENC | ELEC TSP 5 PORT MANFLD-1/2" COMP/120VAC/ENC BOX |  | 1360
MI-300-500-120VAC | ELEC.TRAP SEAL PRIMER 120VAC, 5 PORT MANIFOLD | 779897058660 | 1036
MI-300-500-120VAC-2M | ELEC.TSP120VAC, 5 PORT/ BRSS MNFLD w/BRSS COMP |  | 1036
MI-300-500-120VAC-3P | ELEC TRAP SEAL PRM,5 PORT,1/2 COMP/120VAC 3-PRONG PLG |  | 1228
MI-300-500-120VAC-EC | MI-300 WITH ENCLOSURE + COVER | 779897144240 | 1558
MI-300-500-120VAC-EN | ELEC TSP, 5 PORT, 1/2 COMP/120VAC/STL ENC BOX | 779897144257 | 1360
MI-300-500-120VAC-LM | ELEC.TRAP SEAL PRIMER 120VAC,1 PORT/LESS MANIFOLD |  | 942
MI-300-500-120VENCAD | MI-300 W/ ENCLOSURE, ACCESS DOOR,5 PORT,1/2" COMP |  | 1558
MI-300-500-120VENCSS | ELEC TSP 5 PORT MANFLD-1/2" COMP/120VAC/SS ENC BOX |  | 1482
MI-300-500-120VLMENC | ELEC TRAP SEAL PRMR 120VAC/1 PORT/LESS MANFLD/ENCL BOX |  | 1181
MI-300-500-220VAC | ELEC.TRAP SEAL PRIMER 220VAC, 5 PORT MANIFOLD |  | 1036
MI-300-500-220VACENC | ELEC.TRAP SEAL PRIMER/220VAC/5 PORT MANFLD/ENCLSRE BOX |  | 1360
MI-300-500-24VDC | ELEC.TRAP SEAL PRIMER, 5 PORT, 1/2" COMP, 24VDC | 779897058677 | 1036
MI-300-500-24VDC-ENC | ELEC.TRAP SEAL PRIMER, 5 PORT, 1/2" COMP, 24VDC/ENCLOS |  | 1360
MI-300-500-24VDC-LM | ELEC.TRAP SEAL PRIMER 24VDC,1 PORT/LESS MANIFOLD |  | 879
MI-300-500120ENCADSS | ELEC. TSP,5 PORT,1/2" COMP FIT,120V/ENC BX/ SS ACCS DR |  | 1678
MI-300-500120VAC3PLM | ELEC TSP 1/2 CONN/120VAC 3-PRONG PLG/LESS MANFLD |  | 1079
MI-300-625-1-120ENAD | MI-300 ONE 5/8" PORT w/ ENCLS & ACCESS DR |  | 1558
MI-300-625-120-ENCSS | MI-300 5/8" PORTS/120V w/SS ENCLOSURE |  | 1556
MI-300-625-120-SSADS | PROFORMER SAMPLE |  | 1556
MI-300-625-120VAC | ELEC. TRAP SEAL PRIMER,5 PORT,5/8" COMP FITTING,120VAC | 779897058684 | 1036
MI-300-625-120VAC-EN | ELEC TRAP SEAL PRMR,5 PORT,5/8" COMP,120VAC/ENC BOX | 779897144264 | 1360
MI-300-625-120VENCAD | MI-300 WITH ENCLOSURE W/ACCESS DOOR | 779897144271 | 1558
MI-300-625-220VAC | ELEC. TRAP SEAL PRIMER,5 PORT,5/8" COMP FITTING,220VAC |  | 1036
MI-300-625-24VDC | ELEC.TRAP SEAL PRIMER, 24VDC,5PORT, 5/8COMP | 779897058691 | 1036
MI-300-625-24VDC-ENC | 24V ELEC.TRAP SEAL PRIMER/ ENCLOSURE | 779897144288 | 1558
MI-300-625120ENCADSS | ELEC. TSP,5 PORT,5/8" COMP FIT,120V/ENC BX/ SS ACCS DR |  | 1678
MI-300-62524VDCENCAD | 24V ELEC.TRAP SEAL PRIMER W/MI-DU-625 | 779897144295 | 1558
MI-300-62524VSSENCAD | 24V ELEC.TSP-5/8" FITT, SS ENCL, SS COVR |  | 1675
MI-300-AD | STEEL CABINET COVER FOR MI-300, UP TO 10 OUTLETS |  | 198
MI-300-ADSS | SS CABINET COVER FOR MI-300, UP TO 10 OUTLETS |  | 318
MI-300-BP-500 | BATTERY PACK TSP, 5 PORT-1/2" CONN | 779897178351 | 1423
MI-300-BP-500-ENC | BATTERY PCK TSP, 5 PORT-1/2" CONN/ENCLSRE BX |  | 1746
MI-300-BP-500-LM | BATTERY PACK TSP-1/2" CONN/LESS MNFLD |  | 1240
MI-300-BP-500-LM-ENC | BATTERY PACK TSP-1/2" CONN/LESS MNFLD/ENC BOX |  | 1542
MI-300-BP-625 | BATTERY PACK TSP, 5 PORT-5/8" CONN | 779897178368 | 1423
MI-300-BP-625-ENC | BATTERY PCK TSP, 5 PORT-5/8" CONN/ENCLSRE BX |  | 1746
MI-300-BP-625-ENC-AD | BATTERY PCK TSP, 5 PORT-5/8" CONN/ENC/CBNT CVR |  | 1945
MI-300-BP-ENC | STEEL ENCLOSURE FOR MI-300-BP |  | 323
MI-300-CTN | CARTON FOR MI-300 | 779897058721 | 59
MI-300-DU-500-120VAC | ELEC TSP/AIR GAP/MI-DU-500/120VAC |  | 1036
MI-300-DU-500-24VDC | ELEC TSP/AIR GAP/MI-DU-500/24VDC |  | 1010
MI-300-DU-625-120VAC | ELEC TSP/AIR GAP/MI-DU-620/120VAC |  | 1036
MI-300-ELEC-BOX | ELECTRIC ENCLOSURE FOR MI-300 |  | 323
MI-300-ELEC-BOX-BP | ELECTRIC ENCLOSURE FOR MI-300-BP |  | 323
MI-300-ELEC-BOX-RP | REAR PLATE FOR MI-300-ELEC-BOX |  | 294
MI-300-ELEC-BOX-SS | SS ELECTRIC ENCLOSURE FOR MI-300 |  | 520
MI-300-ENC | STEEL ENCLOSURE BOX FOR MI-300, UP TO 10 OUTLETS |  | 323
MI-300-ENC-SS | SS ENCLOSURE BOX FOR MI-300, UP TO 10 OUTLETS |  | 520
MI-300-LABEL | MI-300 MODEL NUMBER LABEL | 779897144325 | 59
MI-300-PC-1 | PIPECLIP |  | 59
MI-300-SS-ENC | SS-ENC for MI-300 |  | 520
MI-300-VALVE-CLAMP | MOUNTING CLAMP FOR VALVE ON MI-300 |  | 23
MI-30010500120VENCAD | ELEC TSP,AIR GAP,10 PORT,1/2"CONN/120VAC/ENC BOX/COVER |  | 1558
MI-3004500-120VENCSS | MI-300 WITH SS ENCLOSURE - 4 1/2" OUT PORTS - 120V |  | 1556
MI-300500120VLMENCAD | ELEC TSP 120VAC/1 PORT/LESS MANFLD/ENCL BOX/ACCS CVR |  | 1394
MI-300500120VSSADENC | ELEC TSP,5 PRT,1/2" COMP FIT,120V/SS ACCS DR/SS ENC BX |  | 1874
MI-300550024VSSADENC | ELEC TSP,5 PRT,1/2" COMP FIT,24V/SS ACCS DR/SS ENC BX |  | 1874
MI-300625120VSSADENC | ELEC TSP,5 PRT,5/8" COMP FIT,120V/SS ACCS DR/SS ENC BX |  | 1874
MI-300625220VENCSSBA | ELEC TSP, 5 PORT,5/8" COMP FTT,220VAC,SS ENCL/BUY AMRC |  | 1556
MI-350-DU-500-120VAC | ELEC TSP/AIR GAP/MI-DU-500/ENCL/120VAC |  | 1331
MI-350-DU-625-120VAC | ELEC TSP/AIR GAP/MI-DU-625/ENCL/120VAC |  | 1331
MI-350-DU-625-120VAD | ELEC TSP/AIR GAP/MI-DU-625/ENCL/120VAC/ACCESS COVER |  | 1531
MI-350-DU-625-24VDC | ELEC TSP/AIR GAP/MI-DU-625/ENCL/24VDC |  | 1268
MI-350-DU-AD | CABINET COVER FOR MI-350-DU UNITS |  | 198
MI-350-DU-AD-SS | STAINLESS STEEL CABINET COVER FOR MI-350-DU UNITS |  | 520
MI-350-ENC | STEEL ENCLOSURE FOR MI-350 |  | 323
MI-350-ENC-SS | STAINLESS STEEL ENCLOSURE FOR MI-350 |  | 520
MI-350DU625120ENADSS | ELEC TSP/AIR GAP/MI-DU-625/ENCL/120VAC/SS ENCL/SS CVR |  | 2170
MI-602 | 2"ABS 1/2" PRIMER CONN | 779897963858 | 32
MI-602 BODY | BODY/COMP CONN 2" ABS 1/2" | 779897979811 | 32
MI-603 | 3"ABS 1/2"PRIMER CONNECTOR | 779897963865 | 42
MI-604 | 4"ABS 1/2" PRIMER CONNECTOR | 779897963872 | 56
MI-606 | 3"ABS 3/8" PRIMER CONNECTOR | 779897931925 | 118
MI-606-6IN-ARRA | 6"NH STEEL PRIMER CONNECTOR |  | 176
MI-607 | 4"ABS 3/8" PRIMER CONNECTOR | 779897931932 | 55
MI-612 | 2"ABS 5/8"PRIMER CONNECTOR | 779897963889 | 32
MI-613 | 3"ABS 5/8"PRIMER CONNECTOR | 779897963896 | 42
MI-614 | 4"ABS 5/8" PRIMER CONNECTOR | 779897963902 | 56
MI-622 | 2"PVC 1/2"PRIMER CONNECTOR | 779897963919 | 32
MI-622 BODY | BODY/COMP CONNECTOR 2"PVC 1/2" | 779897979828 | 32
MI-623 | 3"PVC 1/2"PRIMER CONNECTOR | 779897963926 | 42
MI-624 | 4"PVC 1/2"PRIMER CONNECTOR | 779897963933 | 56
MI-632 | 2"PVC 5/8" PRIMER CONNECTOR | 779897963940 | 32
MI-633 | 3"PVC 5/8" PRIMER CONNECTOR | 779897963957 | 42
MI-634 | 4"PVC 5/8"PRIMER CONNECTOR | 779897963964 | 56
MI-700 | 1.25 TSP ADAPTER | 779897964558 | 89
MI-701 | 1.5 TSP ADAPTER | 779897964565 | 109
MI-702-12.5 | 1.5X12" TSP ADAPTER | 779897699115 | 183
MI-702-15.5 | 1.5X15" TSP ADAPTER | 779897699108 | 187
MI-702-23 | 1.5X22.5" TSP ADAPT | 779897699092 | 174
MI-702-23-BH | 1.5X22.5" TSP ADAPT / W BRAIDED HOSE |  | 230
MI-702-9.5 | 1.5X9" TSP ADAPT | 779897699122 | 170
MI-702-9.5-BH | 1.5"x9.5" VALVE TSP ADAPT/BRD HOSE w/ESCTCHN |  | 226
MI-702-VB | REPLACEMENT VACUUM BREAKER FOR MI-702 SERIES |  | 53
MI-BRKKIT | CIRCUIT BREAKER SWITCH 5A,125/250V BARNES #488681 | 779897080982 | 89
MI-CARLON-1/2-15005 | 1/2" FLEXIBLE PVC CONDUIT STEINER #15005-100 | 779897105497 | 59
MI-CARLON-677-1/2 | STEINER #LT43DN 1/2" WATER PROOF CONDUIT CO | 779897081002 | 59
MI-CARLON-677-1/2-90 | STEINER# LT20DN 1/2" WATERPROOF CONDUIT CONNECTOR | 779897103170 | 59
MI-DU-500 | DISTRIBUTION UNIT 1/2" COMPRESSION FITTINGS | 779897963766 | 64
MI-DU-500-ETP | MI-DU W/4-1/2" COMP FIT/BLIND HOLE | 779897059148 | 64
MI-DU-500-ETP-PB | MI-DU W/4-1/2" COMP FIT/BLIND HOLE/PB ONLY | 779897059155 | 64
MI-DU-500-ME | MI-DU W/4-1/2"COMPRESSION FIT/MIDDLE EAST |  | 64
MI-DU-625 | DISTRIBUTION UNIT 5/8" COMPRESSION FITTINGS | 779897963773 | 68
MI-DU-625-ETP | MI-DU W/4-5/8" COMP FIT/BLIND HOLE | 779897059162 | 68
MI-DU-625-LABEL | LABEL FOR CONVERTED MI-DU-625'S | 779897144622 | 12
MI-DU-625-ME | MI-DU W/4-5/8" COMP FIT/MIDDLE EAST |  | 68
MI-ENC | PLASTIC ENCLOSURE | 779897059186 | 236
MI-GAP-NPB | 1/2" LOW LEAD AIR GAP FITTING |  | 61
MI-GAP-NPB-ME | 1/2" LOW LEAD AIR GAP FITTING/MIDDLE EAST |  | 61
MI-GARD-1.5 | 1.5" FLOOR DRAIN TRAP GUARD | 779897168352 | 76
MI-GARD-1.5-FLAP | 1-1/2" FLOOR DRAIN TRAP GUARD |  | 38.5
MI-GARD-2 | 2" FLOOR DRAIN TRAP GUARD | 779897999925 | 76
MI-GARD-2-FLAP | 2" FLOOR DRAIN TRAP GUARD |  | 38.5
MI-GARD-3 | 3" FLOOR DRAIN TRAP GUARD | 779897999932 | 82.25
MI-GARD-3-FLAP | 3" FLOOR DRAIN TRAP GUARD |  | 42
MI-GARD-3-ME | 3" FLOOR DRAIN TRAP GUARD-MIDDLE EAST |  | 82.25
MI-GARD-3.5 | 3.5" FLOOR DRAIN TRAP GUARD | 779897999949 | 101.5
MI-GARD-35-FLAP | 3.5" FLOOR DRAIN TRAP GUARD FLAP |  | 51
MI-GARD-4 | 4" FLOOR DRAIN TRAP GARD | 779897999956 | 101.5
MI-GARD-4-FLAP | 4" FLOOR DRAIN TRAP GUARD FLAP |  | 51
MI-GARD-4-ME | 4" FLOOR DRAIN TRAP GARD- MIDDLE EAST |  | 101.5
MI-GARD-6 | 6" FLOOR DRAIN TRAP GARD | 779897168390 | 126.5
MI-GARD-6-FLAP | 6" FLOOR DRAIN TRAP GUARD |  | 76
MI-GARD-DISPLAY | MI-GARD DISPLAY ASSEMBLY |  | 118
MI-GARD-DISPLAY-BASE | BASE FOR MI-GARD DISPLAY WITH SECURITY CHAIN |  | 89
MI-GARD-PLUG | MI-GARD NYLON ARROW PLUG |  | 47
MI-MANIFOLD-5-500 | MANIFOLD w/ 5 PORT- 1/2" COMP FITT |  | 294
MI-MODULE-120V-ASSY | 120V TIMING MODULE 120V ASSEMBLY WITH CONTROL BOX |  | 708
MI-MODULE-120VAC | 120V TIMING MODULE 120V ASSEMBLY (DUAL) |  | 708
MI-MODULE-12V | 12VDC TIMING MODULE FOR MI-100 |  | 708
MI-MODULE-230V | 230VAC TIMER |  | 708
MI-MODULE-24 | 24VDC TIMING MODULE |  | 708
MI-PENC-COV-BRC-20-3 | PLASTIC ENCL.TOP-SCEPTOR/BRC20-3/IPEC#077748 | 779897105592 | 708
MI-PENC-FS-3-20 | PLASTIC ENCL.-SCEPTOR/FS3-101520/IPEC#07337 | 779897081958 | 708
MI-TEMP | INACTIVE - ORDER MI-TEMP-NPB | 779897062056 | 246
MI-TEMP X 30 | 30 PCS MI-TEMP | 779897999901 | 7237
MI-TEMP-NPB | PRESSURE BALANCE VALVE NO LEAD | 779897150340 | 242
MI-TEMP-RK | COMPLETE INTERNAL ASSEMB. FOR MI-TEMP | 779897168376 | 105
MI-THERM-.38 | THERMOSTC MIX VALVE- 3/8" MIP CONN & 3/8" SWT CONN |  | 275
MI-THERM-.38-PEX | THERMOSTATIC MIXING VALVE 3/8" PEX CONNECTION |  | 275
MI-THERM-.50 | THERMOSTC MIX VALVE- 1/2" MIP CONN & 1/2" SWT CONN |  | 309
MI-THERM-.50-PEX | THERMOSTATIC MIXING VALVE 1/2" PEX CONNECTION |  | 309
MI-THERM-.75 | THERMOSTC MIX VALVE- 3/4" MIP CONN & 3/4" SWT CONN |  | 309
MI-THERM-.75-PEX | THERMOSTATIC MIXING VALVE 3/4" PEX CONNECTION |  | 309
MI1001050075WS220ADS | ELEC TSP,10 PORT,1/2COMP,3/4 WTR SUP/220VAC/SS ACSS DR |  | 2290
MI1001050220ADSS75BA | MI-100/10 PRT/220V-1/2" FITNG/SS AC DR-3/4 WTR SUP/ BA |  | 2290
MI10010625120VADSSBA | ELEC TSP,10 PRT,5/8 COMP,120VAC/SS CVR/BUY AMERCA |  | 2140
MI10010625120VENCH16 | ELEC TSP, 10 PORT, 5/8" COMP/120VAC/ENC BX=16"H |  | 2400
MI1001062575WS120VAD | ENCL TRAP SEAL PRIMER,10 PORT,5/8COMP,120VAC/ACC DOOR |  | 2153
MI1001062575WS220ADS | ELEC TSP,10 PORT,5/8COMP,3/4 WTR SUP/220VAC/SS ACSS DR |  | 2290
MI1001550075WS220ADS | ELEC TSP,15 PORT,1/2COMP,3/4 WTR SUP/220VAC/SS ACSS DR |  | 2396
MI10015500ADSS75120V | ELEC TSP,15 PORT-1/2COMP/SS AD-3/4 WTR SUPP/120V |  | 1998
MI10030625120V75WSAD | ELEC TSP/30 PORT/.625 COMP/120V-3/4" WTR SUPP/ACC DR |  | 3074
MI1005500120V3PSSADS | ELEC TSP,5 PORT, 1/2 COMP/120VAC/3PRONG/SS CBNT SS CVR |  | 2826
MI1005500220ADSS75BA | MI-100/5 PRT/220V-1/2" FITNG/SS AC DR-3/4 WTR SUP/ BA |  | 2030
MI1005625120VENCH16 | ELEC TSP, 5 PORT, 5/8" COMP/120VAC/ENC BX=16"H |  | 2400
MI100562UASS2M75120C | 5 PRT,5/8"CMP,120V,SS DOOR,CYL,BRSS MNFLD,3/4" WTR SPL |  | 2171
MI20050024VAC75WSENC | ELEC TSP, 5 PORT, 1/2 COMP/24VAC/.75" WTR SUPP/ENC BOX |  | 801
MI200625-24DC-ESSASS | ELEC.TSP MI-200, 24V/ 5 5/8" OUT/SS CAB/ SS COV |  | 1271
MI20062524VACENCSADS | ELEC TSP w/AIR GAP-5/8" CONN/24VAC/SS ENC BX/SS COVER |  | 1271
MI3002625-120V-ADENC | MI-300 WITH ENCLOSURE W/ACCESS DOOR / 2 OUT |  | 1360
MIFAB-AIR-GAP-ARRA | . |  | 61
MR-500 | TSP PRESSURE DROP ACT. | 779897064289 | 110
MR-500-A | TSP PRESSURE DROP ACT/AUSTRALIA | 779897064296 | 110
MR-500-BA | TSP PRESSURE DROP ACT./ BUY AMERICA 51% | 779897151590 | 138
MR-500-BARCODE | BARCODE LABEL FOR MR-500 | 779897064302 | 23
MR-500-CTN | SINGLE CARTON MR-500 (green) | 779897963551 | 27
MR-500-DISPLAY | MR-500 COUNTER TOP DISPLAY |  | 59
MR-500-MI-DU-625-BA | TSP PRESSURE DROP W/DIST UNIT/BUY AMERICA 51% |  | 631
MR-500-NPB | TSP PRESSURE DROP ACTIVATED/LOW LEAD | 779897000294 | 110
MR-500-NPB-ASSY | TSP PRESSURE DROP ACTIVATED ASSEMBLY/LOW LEAD |  | 110
MR-500-NPB-BA | TSP PRESSURE DROP ACTIVATED/LOW LEAD/ BUY AMERICA |  | 110
MR-500-NPB-CTN | SINGLE CARTON MR-500-NPB | 779897151606 | 27
MR-500-NPB-LABEL | MR-500 NPB LABEL |  | 23
MR-500-RC | REPLACEMENT GREEN CARTRIDGE W/ TOP & BOTTOM FOR MR-500 | 779897661341 | 62
MR-500-RF | REPLACEMENT FILTER SCREEN/MR-500 | 779897661358 | 48
MR-500-SS | TSP PRESSURE DROP ACTIVATED/SS |  | 216
MR-500-UN | TSP PRESS DROP W/ UNION CONN | 779897064319 | 135
MR-CSA | MR CUP SEAL ASSEMBLY | 779897082450 | 70
MR-ENC-AG-DU-500 | TRAP SEAL PRIMER IN ENC BOX, AIR GAP, 1/2" DISTR BOX |  | 740
MR-ENC-AG-DU-625 | TRAP SEAL PRIMER IN ENC BOX, AIR GAP, 5/8" DISTR BOX |  | 740
MRA-500 | TSP PRESSURE DROP ACT/AUSTRALIA |  | 110
MRA-500-ME | TSP PRESSURE DROP ACT/AUSTRALIA/MIDDLE EAST |  | 110
RCM1 | CARTR/CUP SEAL M1-500 | 779897963636 | 70
RCM2 | CARTR/CUP SEAL M2-500 | 779897963698 | 70
RCMR | CARTR/CUP SEAL MR-500 | 779897963513 | 70
T02-1 | BRASS BODY/END PCE MR-500/M1-500/M2-500 | 779897963544 | 89
T02-11 P DOPE | COLLAR FOR M500 NO DOPE | 779897963568 | 12
T02-12SEAL | SEALING RING UNION CONNECTION | 779897995583 | 29
T02-13 LOCK NT | LOCK NUT UNION CONNECTIONS | 779897995590 | 59
T02-2 | CUP SEAL FOR MR-500/M1-500/M2-500 | 779897071706 | 70
T02-3 | "O" RING FOR MR-500/M1-500/M2-500 | 779897071713 | 35
T02-4 | GREEN CARTRIDGE W/ TOP & BOTTOM FOR MR-500 | 779897071720 | 62
T02-5 | BRASS FILTER CONE MR-500/M1-500/M2-500 | 779897071737 | 48
T02-5-3 | STAINLESS STEEL FILTER CONE MR-500/M1-500/M2-500 |  | 48
T02-6 | CONSECUTIVELY # LABELS FOR MR 500 | 779897963599 | 118
T02-7 | BR END PCE M500 SERIES | 779897071744 | 89
T02-7-BA | BR END PCE M500 SERIES/BUY AMERICA |  | 176
T02-7-NPB | BR END PCE M500 SERIES/LOW LEAD |  | 89
T02-8 | BRASS BODY MR-500 | 779897071751 | 100
T02-8-NPB | BRASS BODY MR-500/LOW LEAD |  | 100
T03-1 | RED CARTRIDGE W/ TOP & BOTTOM FOR M1-500 | 779897071768 | 69
T03-2 | CONSECUTIVELY # LABELS FOR M1-500 | 779897071775 | 118
T03-3 | BRASS BODY FOR M1-500 | 779897071782 | 100
T03-3-NPB | BRASS BODY FOR M1-500/LOW LEAD |  | 100
T03-4 | SINGLE CARTON M1-500 | 779897963681 | 29
T04-1 | BLACK CARTRIDGE W/ TOP & BOTTOM FOR M2-500 | 779897963711 | 66
T04-2 | CONSECUTIVELY # LABELS FOR M2 500 | 779897963728 | 118
T04-3 | BRASS BODY M2-500 | 779897071799 | 100
T04-3-NPB | BRASS BODY M2-500/LOW LEAD |  | 100
T05-1 | 1/4"MIPX3/8"FIP MALE ADAPTOR | 779897963780 | 59
T05-10 | NUT FOR 5/8 COMPRESSION FIT/ MI-DU-625 |  | 77
T05-12 | FERRULE FOR 5/8 COMPRESSION FIT/MI-DU-625 |  | 59
T05-2 | 3/8" DRY SEAL PLUG | 779897963797 | 35
T05-3 | MIDU MOLDED BODY/LID | 779897963803 | 59
T05-4 | MIDU 1X2-1/2" LABEL | 779897963810 | 12
T05-5 | 6/32X1/2"PAN QUAD "F" | 779897963827 | 47
T05-8 5/8M CONN | 5/8" MALE CONN COMP FIT 625 | 779897995651 | 59
T06 ID LABEL | MI-600 SERIES ID LABEL | 779897964534 | 118
T08-4 NOZZLE | NOZZLE (TOP) AIR GAP | 779897964619 | 61
T09-28 AERATOR | 1/2" DIA SS AERATOR FILTER | 779897670145 | 48
T09-29 DU LID | PLASTIC LID MI- DU/ NO VENT | 779897670138 | 29
T09-29-DU-LID VENT | PLASTIC LID MI- DU/ WITH VENT |  | 42
T20-1-A | BRASS END PCE MR/M1/M2-500-A | 779897699191 | 77
T20-2-A | BRASS BODY MR-500-A | 779897699184 | 100
T20-3-A | BRASS BODY FOR M1-500-A | 779897699177 | 100
T20-4-A | BRASS BODY M2-500-A | 779897699160 | 100
WCTSP-1 | TSP PRESSURE DROP ACTIVATED/LOW LEAD |  | 118