## Small Backflow
BEECO DC - Small Diameter Lead Free Backflow Cross Reference
Model | Size | BEECO | Wilkins |  |  | Watts |  | Febco | Apollo
|  | FDC | 950XL3 | 350XL | 950XL2/XLT2 | LF719 | LF007 | LF850 | 4ALF-100
DC | 1/2" | FDC.50-QT-LL | N/A | N/A | N/A | 1/2" LF719 | 1/2" LF007QT | 1/2" LF850 | 4ALF103A2F
DC | 3/4" | FDC.75-QT-LL | 34-950XL3 | 34-350XL | 34-950XLT2 | 3/4" LF719 | 3/4" LF007M3QT | 3/4" LF850 | 4ALF104A2F
DC | 1" | FDC1.00-QT-LL | 1-950XL3 | 1-350XL | 1-950XLT2 | 1" LF719 | 1" LF007M1QT | 1" LF850 | 4ALF105A2F
DC | 1-1/4" | FDC1.25-QT-LL | 114-950XL3 | 114-350XL | 114-950XLT2 | 1-1/4" LF719 | 1-1/4" LF007M2QT | 1-1/4" LF850 | 4ALF106A2F
DC | 1-1/2" | FDC1.50-QT-LL | 112-950XL3 | 112-350XL | 112-950XLT2 | 1-1/2" LF719 | 1-1/2" LF007M2QT | 1-1/2" LF850 | 4ALF107A2F
DC | 2" | FDC2.00-QT-LL | 2-950XL3 | 2-350XL | 2-950XLT2 | 2" LF719 | 2" LF007M1QT | 2" LF850 | 4ALF108A2F
Small Diameter RP's Low Lead Backflow Cross Reference
Model | Size | BEECO | Wilkins |  |  | Watts |  | Febco |  | Apollo
|  | FRP | 975XL3 | 375XL | 975XL2 | LF909 OR LF919 | LF'009 | LF825Y | LF860 | 4ALF-200
RP | 1/2" | [6 empty] | NA | 1/2" LF860 | 4A203A2F
RP | 3/4" | [6 empty] | 3/4" LF825Y | 3/4" LF860 | 4A204A2F
RP | 1" | [6 empty] | 1" LF825Y | 1" LF860 | 4A205A2F
RP | 1-1/4" | [6 empty] | 1-1/4"LF825Y | 1-1/4" LF860 | 4A206A2F
RP | 1-1/2" | [6 empty] | 1-1/2"LF825Y | 1-1/2" LF860 | 4A207A2F
RP | 2" | [6 empty] | 2" LF825Y | 2" LF860 | 4A208A2F
|  |  |  | 375 | 975 |  |  | LF825Y | LF860
RP | 1/2" | FRP.50-QT-LL | 12-975XL3 | 12-375XL | 12-975XL2 | 1/2" LF909QT | 1/2" LF009QT | NA | 1/2" LF860 | 4ALF203A2F
RP | 3/4" | FRP.75-QT-LL | 34-975XL3 | 34-375XL | 34-975XL2 | 3/4" LF909QT | 3/4" LF009M2QT | 3/4" LF825Y | 3/4" LF860 | 4ALF204A2F
RP | 1" | FRP1.00-QT-LL | 1-975XL3 | 1-375XL | 1-975XL2 | 1" LF909QT | 1" LF009M2QT | 1" LF825Y | 1" LF860 | 4ALF205A2F
RP | 1-1/4" | FRP1.25-QT-LL | 114-975XL3 | 114-375XL | 114-975XL2 | 1-1/4" LF909QT | 1-1/4" LF009M2QT | 1-1/4"LF825Y | 1-1/4" LF860 | 4ALF206A2F
RP | 1-1/2" | FRP1.50-QT-LL | 112-975XL3 | 112-375XL | 112-975XL2 | 1-1/2" LF909QT | 1-1/2" LF009M2QT | 1-1/2"LF825Y | 1-1/2" LF860 | 4ALF207A2F
RP | 2" | FRP2.00-QT-LL | 2-975XL3 | 2-375XL | 2-975XL2 | 2" LF909QT | 2" LF009M2QT | 2" LF825Y | 2" LF860 | 4ALF208A2F
|  |  |  | 350ASTDA |  |  | 007M1DCDA |  |  | 4AST
DCDA2 | 1-1/2" | [8 empty] | 4ALF627C2ST
DCDA2 | 1-1/2" | [8 empty] | 4ALF627EST
DCDA2 | 1-1/2" | [8 empty] | 4ALF627GST
DCDA2 | 1-1/2" | [8 empty] | 4ALF647C2ST
DCDA2 | 1-1/2" | [8 empty] | 4ALF647EST
DCDA2 | 1-1/2" | [8 empty] | 4ALF647GST
DCDA2 | 2" | [8 empty] | 4ALF628C2ST
DCDA2 | 2" | [8 empty] | 4ALF628EST
DCDA2 | 2" | [8 empty] | 4ALF628GST
DCDA2 | 2" | [8 empty] | 4ALF648C2ST
DCDA2 | 2" | [8 empty] | 4ALF648EST
DCDA2 | 2" | [8 empty] | 4ALF648GST
RPDA2 | 1-1/2" | [8 empty] | 4ALF627C2ST
RPDA2 | 1-1/2" | [8 empty] | 4ALF627EST
RPDA2 | 1-1/2" | [8 empty] | 4ALF627GST
RPDA2 | 1-1/2" | [8 empty] | 4ALF647C2ST
RPDA2 | 1-1/2" | [8 empty] | 4ALF647EST
RPDA2 | 1-1/2" | [8 empty] | 4ALF647GST
RPDA2 | 2" | [8 empty] | 4ALF628C2ST
RPDA2 | 2" | [8 empty] | 4ALF628EST
RPDA2 | 2" | [8 empty] | 4ALF628GST
RPDA2 | 2" | [8 empty] | 4ALF648C2ST
RPDA2 | 2" | [8 empty] | 4ALF648EST
RPDA2 | 2" | [8 empty] | 4ALF648GST
Pressure Vacuum Breaker Low Lead Backflow Cross Reference
Model | Size | BEECO | Wilkins |  | Watts | Febco | Apollo
|  | PVB | 720A (no LF) | 710 | LF800 | 765 (no LF) | 4ALF-500
PVB | 1/2" | PVB.50-QT-LL | 12-720A | N/A | 1/2" LF800 | 1/2" 765 | 4ALF503A2F
PVB | 3/4" | PVB.75-QT-LL | 34-720A | 34-710 | 3/4" LF800 | 3/4" 765 | 4ALF504A2F
PVB | 1" | PVB1.00-QT-LL | 1-720A | 1-710 | 1" LF800 | 1" 765 | 4ALF505A2F
PVB | 1-1/4" | PVB1.25-QT-LL | 114-720A | N/A | 1-1/4" LF800 | 1-1/4" 765 | 4ALF506A2F
PVB | 1-1/2" | PVB1.50-QT-LL | 112-720A | N/A | 1-1/2" LF800 | 1-1/2" 765 | 4ALF507A2F
PVB | 2" | PVB2.00-QT-LL | 2-720A | N/A | 2" LF800 | 2" 765 | 4ALF508A2F
Atmospheric Vacuum Breaker Low Lead Backflow Cross Ref
Model | Size | BEECO | Wilkins | Watts | Febco (no LF) | Apollo
|  | ASVB | 35 | 288 | 710 | 38LF-100
ASVB | 1/4" | ASVB.25-LL | 14-35XL | NA | NA | 38LF-101
ASVB | 3/8" | ASVB.375-LL | NA | NA | NA | 38LF-102
ASVB | 1/2" | ASVB.50-LL | 12-35XL | 1/2 LF288 | 1/2 710 | 38LF-103
ASVB | 3/4" | ASVB.75-LL | 34-35XL | 3/4 LF288 | 3/4 710 | 38LF-104
Dual Check Low Lead Backflow Cross Reference
Model | Size | BEECO | Wilkins | Watts | Cash Acme | Apollo
|  | DUAL CHECK | 700XL | LF7R | BF | 4ALF-300
DuC | 1/2" | DC.50-NPTX.50-NPT-LL | 12UFX12F-700XL | 1/2" LF7RU2-2 | BF11212 | 4ALF-3A33A
DuC | 3/4" | DC.75-NPTX.75-NPT-LL | 34UFX34F-700XL | 3/4" LF7RU2-2 | BF13434 | 4ALF-3A44A
DuC | 1" | DC1.0-NPTX1.0-NPT-LL | 1UFX1F-700XL | 1" LF7RU2-2 | BF10101 | 4ALF-3A55A
Vented Dual Check Backflow Cross Ref
Model | Size | BEECO | Wilkins | Watts | Cash Acme | Apollo
|  | DCAV | 760 | 9D | BFP | 4ALF-400
DCAP | 1/2" | DCAV.50-NPT | 12-760 | 1/2" 9DM3 | BFP11212 | 4ALF-4A33A
DCAP | 3/4" | DCAV.75-NPT | 34-760 | 3/4" 9DM2 | BFP13434 | 4ALF-4A44A

## Large Backflow
BEECO Large Diameter Lead Free Backflow Cross Reference
Model | Size | Shut Off valve | BEECO BARRACUDA | Wilkins | Watts | Apollo
Stainless Steel
|  | NRS | FDC SS | 350A | 774 | 4A
DC | 2-1/2" | Non-rising Stem | FDC2.50-SS-NRS | 212-350AST | 2-1/2" 774-NRS | 4ALF10902
DC | 3" | Non-rising Stem | FDC3.00-SS-NRS | 3-350AST | 3" 774-NRS | 4ALF10002
DC | 4" | Non-rising Stem | FDC4.00-SS-NRS | 4-350AST | 4" 774-NRS | 4ALF10A02
DC | 6" | Non-rising Stem | FDC6.00-SSX-NRS | 6-350AST | 6" 774-NRS | 4ALF10C02
DC | 8" | Non-rising Stem | FDC8.00-SS-NRS | 8-350AST | 8" 774-NRS | 4ALF10E02
|  | OSY | FDC SS | 350 | 774 | 4A
DC | 2-1/2" | Outside Stem & Yoke | FDC2.50-SS-OSY-UL | 212-350ASTOSY | 2-1/2" 774-OSY | 4ALF10903
DC | 3" | Outside Stem & Yoke | FDC3.00-SS-OSY-UL | 3-350ASTOSY | 3" 774-OSY | 4ALF10003
DC | 4" | Outside Stem & Yoke | FDC4.00-SS-OSY-UL | 4-350ASTOSY | 4" 774-OSY | 4ALF10A03
DC | 6" | Outside Stem & Yoke | FDC6.00-SSX-OSY-UL | 6-350ASTOSY | 6" 774-OSY | 4ALF10C03
DC | 8" | Outside Stem & Yoke | FDC8.00-SS-OSY-UL | 8-350ASTOSY | 8" 774-OSY | 4ALF10E03
|  | NRS | FDC SS | 375 | 994 | 4A
RP | 2-1/2" | Non-rising Stem | FRP2.50-SS-NRS | 212-375AST | 2-1/2" 994-NRS | 4ALF20902
RP | 3" | Non-rising Stem | FRP3.00-SS-NRS | 3-375AST | 3" 994-NRS | 4ALF20002
RP | 4" | Non-rising Stem | FRP4.00-SS-NRS | 4-375AST | 4" 994-NRS | 4ALF20A02
RP | 6" | Non-rising Stem | FRP6.00-SSX-NRS | 6-375AST | 6" 994-NRS | 4ALF20C02
RP | 8" | Non-rising Stem | FRP8.00-SS-NRS | 8-375AST | 8" 994-NRS | 4ALF20E02
|  | OSY | FDC SS | 375 | 994 | 4A
RP | 2-1/2" | Outside Stem & Yoke | FRP2.50-SS-OSY-UL | 212-375ASTOSY | 2-1/2" 994-OSY | 4ALF20903
RP | 3" | Outside Stem & Yoke | FRP3.00-SS-OSY-UL | 3-375ASTOSY | 3" 994-OSY | 4ALF20003
RP | 4" | Outside Stem & Yoke | FRP4.00-SS-OSY-UL | 4-375ASTOSY | 4" 994-OSY | 4ALF20A03
RP | 6" | Outside Stem & Yoke | FRP6.00-SSX-OSY-UL | 6-375ASTOSY | 6" 994-OSY | 4ALF20C03
RP | 8" | Outside Stem & Yoke | FRP8.00-SS-OSY-UL | 8-375ASTOSY | 8" 994-OSY | 4ALF20E03
Epoxy Coated Ductile Iron
Model | Size | Shut Off valve | BEECO | Wilkins | Watts | Febco
Expoxy Coated Ductile Iron
|  | NRS | FDC | 350A | LF709 | LF709
DC | 2-1/2" | Non-rising Stem | FDC2.50-NRS | 212-350A | 2-1/2" LF709-NRS | 2-1/2" LF850-NRS
DC | 3" | Non-rising Stem | FDC3.00-NRS | 3-350A | 3" LF709-NRS | 3" LF850-NRS
DC | 4" | Non-rising Stem | FDC4.00-NRS | 4-350A | 4" LF709-NRS | 4" LF850-NRS
DC | 6" | Non-rising Stem | FDC6.00-NRS | 6-350A | 6" LF709-NRS | 6" LF850-NRS
DC | 8" | Non-rising Stem | FDC8.00-NRS | 8-350A | 8" LF709-NRS | 8" LF850-NRS
DC | 10" | Non-rising Stem | FDC10.00-NRS | 10-350A | 10" LF709-NRS | 10" LF850-NRS
|  | OSY | FDC | 350 | LF709 | LF850
DC | 2-1/2" | Outside Stem & Yoke | FDC2.50-OSY-UL | 212-350AOSY | 2-1/2" LF709-OSY | 2-1/2" LF850-OSY
DC | 3" | Outside Stem & Yoke | FDC3.00-OSY-UL | 3-350AOSY | 23" LF709-OSY | 23" LF850-OSY
DC | 4" | Outside Stem & Yoke | FDC4.00-OSY-UL | 4-350AOSY | 4" LF709-OSY | 4" LF850-OSY
DC | 6" | Outside Stem & Yoke | FDC6.00-OSY-UL | 6-350AOSY | 6" LF709-OSY | 6" LF850-OSY
DC | 8" | Outside Stem & Yoke | FDC8.00-OSY-UL | 8-350AOSY | 8" LF709-OSY | 8" LF850-OSY
DC | 10" | Outside Stem & Yoke | FDC10.00-OSY-UL | 10-350AOSY | 10" LF709-OSY | 10" LF850-OSY
|  | NRS | FRP | 375A | LF909 | LF860
RP | 2-1/2" | Non-rising Stem | FRP2.50-NRS | 212-375A | 2-1/2" LF909-NRS | 2-1/2" LF860-NRS
RP | 3" | Non-rising Stem | FRP3.00-NRS | 3-375A | 3" LF909-NRS | 3" LF860-NRS
RP | 4" | Non-rising Stem | FRP4.00-NRS | 4-375A | 4" LF909-NRS | 4" LF860-NRS
RP | 6" | Non-rising Stem | FRP6.00-NRS | 6-375A | 6" LF909-NRS | 6" LF860-NRS
RP | 8" | Non-rising Stem | FRP8.00-NRS | 8-375A | 8" LF909-NRS | 8" LF860-NRS
RP | 10 | Non-rising Stem | FRP10.00-NRS | 10-375A | 10" LF909-NRS | 10" LF860-NRS
|  | OSY | FRP | 375 | LF909 | LF860
RP | 2-1/2" | Outside Stem & Yoke | FRP2.50-OSY-UL | 212-375AOSY | 2-1/2" LF909-OSY | 2-1/2" LF860-OSY
RP | 3" | Outside Stem & Yoke | FRP3.00-OSY-UL | 3-375AOSY | 3" LF909-OSY | 3" LF860-OSY
RP | 4" | Outside Stem & Yoke | FRP4.00-OSY-UL | 4-375AOSY | 4" LF909-OSY | 4" LF860-OSY
RP | 6" | Outside Stem & Yoke | FRP6.00-OSY-UL | 6-375AOSY | 6" LF909-OSY | 6" LF860-OSY
RP | 8" | Outside Stem & Yoke | FRP8.00-OSY-UL | 8-375AOSY | 8" LF909-OSY | 8" LF860-OSY
RP | 10" | Outside Stem & Yoke | FRP10.00-OSY-UL | 10-375AOSY | 10" LF909-OSY | 10" LF860-OSY
DCDA & RPDA - OSY Epoxy Coated Ductile Iron Backflow
Model | Size | Style | BEECO | Wilkins | Watts | Watts | Febco | Apollo
|  |  | FDC | 350ADA | LF774 DCDA | LF709 DCDA | LF856 | 4A
DC | 2-1/2" | DCDA | FDC2.50-OSY-DCDA | 212-350ADA | 2-1/2" LF709DCDA | 2-1/2" LF709DCDA | 2-1/2" LF856 | 4ALF609E3
DC | 3" | DCDA | FDC3.00-OSY-DCDA | 3-350ADA | 23" LF709DCDA | 23" LF709DCDA | 23" LF856 | 4ALF600E3
DC | 4" | DCDA | FDC4.00-OSY-DCDA | 4-350ADA | 4" LF709DCDA | 4" LF709DCDA | 4" LF856 | 4ALF60AE3
DC | 6" | DCDA | FDC6.00-OSY-DCDA | 6-350ADA | 6" LF709DCDA | 6" LF709DCDA | 6" LF856 | 4ALF60CE3
DC | 8" | DCDA | FDC8.00-OSY-DCDA | 8-350ADA | 8" LF709DCDA | 8" LF709DCDA | 8" LF856 | 4ALF60EE3
DC | 10" | DCDA | FDC10.00-OSY-DCDA | 10-350ADA | 10" LF709DCDA | 10" LF709DCDA | 10" LF856 | 4ALF60GE3
|  |  | FRP | 375ADA | LF994 RPDA | LF909 RPDA | LF866 | 4A
RP | 2-1/2" | RPDA | FRP2.50-OSY-RPDA | 212-375ADA | 2-1/2" LF909RPDA | 2-1/2" LF909RPDA | 2-1/2" LF866 | 4ALF709E3
RP | 3" | RPDA | FRP3.00-OSY-RPDA | 3-375ADA | 3" LF909RPDA | 3" LF909RPDA | 3" LF866 | 4ALF700E3
RP | 4" | RPDA | FRP4.00-OSY-RPDA | 4-375ADA | 4" LF909RPDA | 4" LF909RPDA | 4" LF866 | 4ALF70AE3
RP | 6" | RPDA | FRP6.00-OSY-RPDA | 6-375ADA | 6" LF909RPDA | 6" LF909RPDA | 6" LF866 | 4ALF70CE3
RP | 8" | RPDA | FRP8.00-OSY-RPDA | 8-375ADA | 8" LF909RPDA | 8" LF909RPDA | 8" LF866 | 4ALF70EE3
RP | 10" | RPDA | FRP10.00-OSY-RPDA | 10-375ADA | 10" LF909RPDA | 10" LF909RPDA | 10" LF866 | 4ALF70GE3

## PRV
BEECO Compact Pressure Reducing Valve Cross Reference
Model | Size | BEECO | Wilkins |  | Watts | Cash Acme | Apollo
|  | PRV-C | NR3XL | 70XL | N45 | 765 (no LF) | 36ELF
PRV-C | 1/2" | PRV.50-DU-IPS-C-LL | 12-NR3XLDU | N/A | 1/2" LFN45BDU-M# | 1/2" EB45DU | 36ELF-123-0T
PRV-C | 3/4" | PRV.75-DU-IPS-C-LL | 34-NR3XLDU | 34-70XLDU | 3/4" LFN45BDU-M# | 3/4" EB45DU | 36ELF-124-0T
PRV-C | 1" | PRV1.00-DU-IPS-C-LL | 1-NR3XLDU | 1-70XLDU | 1" LFN45BDU-M# | 1" EB45DU | 36ELF-125-0T
PRV-C | 1-1/4" | PRV1.25-DU-IPS-C-LL | 114-NR3XLDU | N/A | 1-1/4" LFN45BDU-M# | 1-1/4" EB45DU | 36LF-406-01
PRV-C | 1-1/2" | PRV1.50-DU-IPS-C-LL | 112-NR3XLDU | N/A | 1-1/2" LFN45BDU-M# | 1-1/2" EB45DU | 36LF-407-01
PRV-C | 2" | PRV2.00-DU-IPS-C-LL | 2-NR3XLDU | N/A | 2" LFN45BDU-M# | 2" EB45DU | 36LF-408-01
DU=Double Union (shown in Cross Ref) all others - SU=Single Union, SWT=Sweat, UPO=Expansion, PEX
BEECO Pressure Reducing Valve Cross Reference
Model | Size | BEECO | Wilkins | Watts | Cash Acme | Apollo
|  | PRV-C | 600XL3 | LF25AUB | 765 (no LF) | 36ELF
PRV-F | 3/4" | PRV.75-SU-IPS-F-LL | 34-600XL3 | 3/4" LFLF25AUB-M# | 3/4" E3 | 36LF-104-01
PRV-F | 1" | PRV1.00-SU-IPS-F-LL | 1-600XL3 | 1" LFLF25AUB-M# | 1" E3 | 36LF-105-01
PRV-F | 1-1/4" | PRV1.25-SU-IPS-F-LL | 114-600XL3 | 1-1/4" LFLF25AUB-M# | 1-1/4" E3 | 36LF-106-01
PRV-F | 1-1/2" | PRV1.50-SU-IPS-F-LL | 112-600XL3 | 1-1/2" LFLF25AUB-M# | 1-1/2" E3 | 36LF-107-01
PRV-F | 2" | PRV2.00-SU-IPS-F-LL | 2-600XL3 | 2" LFLF25AUB-M# | 2" E3 | 36LF-108-01
Directly replaces LF25AUB lay length and union nut threads
BEECO ACV Pilot Operated Pressure Reducing Valve Cross Reference
Model | Size | BEECO | Wilkins | Watts | Cla-Val | Singer | Bermad | OCV
|  | ACV | ZW209 | LF115F OR M | 90-01 | 106-PR | 720 | 127-3
ACV-PR | 2" | ACV2.00-HF-T-PR | 2-ZW209 | 2" LFF115 | 90-01 | 2" 106-PR | 2" 720 | 2" 127-3
ACV-PR | 2-1/2" | ACV2.50-HF-T-PR | 212-ZW209 | 2 1/2" LFF115 | 90-01 | 2-1/2" 106-PR | 2-1/2" 720 | 2-1/2" 127-3
ACV-PR | 3" | ACV3.00-HF-T-PR | 3-ZW209 | 3" LFF115 | 90-01 | 3" 106-PR | 3" 720 | 3" 127-3
ACV-PR | 4" | ACV4.00-HF-T-PR | 4-ZW209 | 4" LFF115 | 90-01 | 4" 106-PR | 4" 720 | 4" 127-3
ACV-PR | 6" | ACV6.00-HF-T-PR | 6-ZW209 | 6" LFF115 | 90-01 | 6" 106-PR | 6" 720 | 6" 127-3
ACV-PR | 8" | ACV8.00-HF-T-PR | 8-ZW209 | 8" LFF115 | 90-01 | 8" 106-PR | 8" 720 | 8" 127-3

## ACV
BEECO ACV Pilot Operated Pressure Reducing Valve Cross Reference
Model | Size | BEECO | Wilkins | Watts | Cla-Val | Singer | Bermad | OCV
|  | ACV | ZW209 | LF115F OR M | 90-01 | 106-PR | 720 | 127-3
ACV-PR | 2" | ACV2.00-HF-T-PR | 2-ZW209 | 2" LFF115 | 90-01 | 2" 106-PR | 2" 720 | 2" 127-3
ACV-PR | 2-1/2" | ACV2.50-HF-T-PR | 212-ZW209 | 2 1/2" LFF115 | 90-01 | 2-1/2" 106-PR | 2-1/2" 720 | 2-1/2" 127-3
ACV-PR | 3" | ACV3.00-HF-T-PR | 3-ZW209 | 3" LFF115 | 90-01 | 3" 106-PR | 3" 720 | 3" 127-3
ACV-PR | 4" | ACV4.00-HF-T-PR | 4-ZW209 | 4" LFF115 | 90-01 | 4" 106-PR | 4" 720 | 4" 127-3
ACV-PR | 6" | ACV6.00-HF-T-PR | 6-ZW209 | 6" LFF115 | 90-01 | 6" 106-PR | 6" 720 | 6" 127-3
ACV-PR | 8" | ACV8.00-HF-T-PR | 8-ZW209 | 8" LFF115 | 90-01 | 8" 106-PR | 8" 720 | 8" 127-3
BEECO ACV Pilot Operated Valve Cross Reference
Model | Size | BEECO | Wilkins | Watts (F or M model) | Cla-Val | Singer | Bermad | OCV
Pressure Sustaining
ACV |  | ACV#.##-HF-T-PS | ZW205 | LFF116 | 50-01 | 106-RPS | 730 | 108-2
Float Valve
ACV |  | ACV#.##-HF-T-FL | ZW204 | 110-14 | 124-01 | 106-F | 750-60 | 8000
Altitude Control
ACV |  | ACV#.##-HF-T-ALT | ZW221 | 127-1 | 210-01 | 106A-TYPEII | 780-AX | 3331
Bi-Level Altitude Control
ACV |  | ACV#.##-HF-T-ALT-B | ZW222 | 127-2 | 210-2 | 106A-TYPEI | 780-70-AX | 3333
Solenoid Control
ACV |  | ACV#.##-HF-T-EL | ZW206 | 113-12 | 136-01 | 106-SC | 710 | 115-2
Manual Control
ACV |  | ACV#.##-HF-T-M | NA | NA | NA | NA | 450-Z | NA
Pressure Reducing Solenoid Control
ACV |  | ACV#.##-HF-T-PREL | ZW209E | 93-01 | 115-4 | 106-PR-SC | 720-55 | 127-80
Differential Pressure Sustaining
ACV |  | ACV#.##-HF-T-DIF | NA | NA | 250-01 | 105-RPS-D | 736 | 110
Pressure Reducing and Sustaining
ACV |  | ACV#.##-HF-T-PRPS | ZW209H | 115-2 | 92-01 | 106-PR-R | 723 | 127-02
Electric Float Level Control
ACV |  | ACV#.##-HF-T-FLEL | NA | S110-10 | NA | NA | 750-65 | NA
Flow Rate Control Valve
ACV |  | ACV#.##-HF-T-FR | NA | 114 | 40-01 | 106-RF | 770 | 120-G
Quick Pressure Relief
ACV |  | ACV#.##-HF-T-QR | ZW205 | LFF116 | 50-01 | 106-RPS | 730 | 108-2
Surge Anticipating
ACV |  | ACV#.##-HF-T-SA | NA | 116-52 | 52-03 | 106-RPS-L&H | 735 | 118-3
Pump (Booster) Control Valve
ACV |  | ACV#.##-HF-T- PC | NA | 513-5 | 60-11 | 106-BPC | 740 | 125-27
Pump (Deep Well) Control
ACV |  | ACV#.##-HF-T-DPC | NA | 513-6 | 61-02 | 106-DW | 745 | 126
Excessive Flow Shut-Off
ACV |  | ACV#.##-HF-T-FE | NA | NA | NA | NA | 770-U | 128
Electronically Controlled
ACV |  | ACV#.##-HF-T-EC | NA | 113-40 | 131-01 | 106-2SC-PCO | 710-B | 115-3
Flow Rate Control & Pressure Reducing
ACV |  | ACV#.##-HF-T-FRPR | NA | 114-2 | 49-01 | 106-PR-RF | 772 | 120G-2
Part numbers match same format as pressure reducing valve section